CSI Specification

Section - 07540

T-MA-R-N-80/80FB

Legend

T = TPO		MA= Mechanically Attached System	N=New  		I=Insulated	45= 45 mil

FA= Adhered System		T=Tear-off	N=Non-insulated	60= 60 mil

BA= Ballast System			R=Recover			80= 80 mil

45FB= 45 mil (Fleece-Back)

60FB= 60 mil (Fleece-Back)

80FB= 80 mil (Fleece-Back)

- GENERAL

  - SUMMARY

    - Section Includes

      - Thermoplastic Polyolefin Single-Ply Roofing Membrane

      - Thermoplastic Polyolefin Flashings

      - Thermoplastic Polyolefin Accessories

      - Roof Insulation

    - Related Sections

      - Section 06100: Rough Carpentry

      - Section 07620: Sheet Metal Flashing and Trim

      - Section 15430: Plumbing Specialties

  - REFERENCES

    - American Society for Testing and Materials (ASTM) - Annual Book of ASTM Standards

      - ASTM D-751 – Standard Test Methods for Coated Fabrics

      - ASTM D-2137 - Standard Test Methods for Rubber Property—Brittleness Point of Flexible Polymers and Coated Fabrics

      - ASTM E-96 - Standard Test Methods for Water Vapor Transmission of Materials

      - ASTM D1204 - Standard Test Method for Linear Dimensional Changes of Nonrigid Thermoplastic Sheeting or Film at Elevated Temperature

      - ASTM D-471 - Standard Test Method for Rubber Property—Effect of Liquids

      - ASTM D-1149 - Standard Test Methods for Rubber Deterioration—Cracking in an Ozone Controlled Environment

      - ASTM G155 - Standard Practice For Operating Xenon Arc Light Apparatus For Exposure Of Non-Metallic Materials

      - ASTM D573 - Standard Test Method For Rubber - Deterioration In An Air Oven

      - ASTM D6878 – Standard Specification for Thermoplastic Polyolefin Based Sheet Roofing

      - ASTM C-1549 - Standard Test Method for Determination of Solar Reflectance Near Ambient Temperature Using a Portable Solar Reflectometer

      - ASTM C-1371 - Standard Test Method for Determination of Emittance of Materials Near Room Temperature Using Portable Emissometers

      - ASTM E 903 – Standard Test Method for Solar Absorptance, Reflectance, and Transmission of Materials Using Integrating Spheres  ***ENERGYSTAR rated only***

    - Sheet Metal and Air Conditioning Contractors National Association, Inc. (SMACNA) - Architectural Sheet Metal Manual

    - National Roofing Contractors Association (NRCA)

    - American Society of Civil Engineers (ASCE)

    - U.S. Green Building Council (USGBC)

      - Leadership in Energy and Environmental Design (LEED)

    - Factory Mutual (FM Global) - Approval Guide

    - Underwriters Laboratories (UL) - Roofing Systems and Materials Guide (TGFU R1306)

    - California Title 24 Energy Efficient Standards

    - ENERGY STAR

    - Cool Roof Rating Council (CRRC)

    - Miami Dade County

  - DEFINITIONS

    - Roofing Terminology: Refer to ASTM D1079 and the glossary of the National Roofing Contractors Association (NRCA) Roofing and Waterproofing Manual for definitions of roofing terms related to this section.

  - LEED CERTIFICATION

    - Provide a roofing system that will achieve or aid in the qualification of points satisfying

      - Sustainable Site credit 7.2  - Heat Island Effect -  Roof.

      - Materials & Resource credit 4  - Recycled Content.

      - Indoor Air Quality credit 4.1  - Low-Emitting Materials -  Adhesives and Sealants.

  - SUBMITTALS

    - Product Data:  Provide product data sheets for each type of product indicated in this section.

    - Shop Drawings:  Provide manufacturers standard details and approved shop drawings for the roof system specified.

    - Samples:  Provide samples of insulations, fasteners, membrane materials and accessories for verification of quality.

    - Certificates:  Installer shall provide written documentation from the manufacturer of their authorization to install the roof system, and eligibility to obtain the warranty specified in this section.

    - L.E.E.D. submittal: Coordinate with Section 01115 - Green Building Requirements, for LEED certification submittal forms and certification templates.

  - QUALITY ASSURANCE

    - Manufacturer’s Qualifications:  GAF® shall provide a roofing system that meets or exceeds all criteria listed in this section.

    - Installer’s Qualifications:

      - Installer shall be classified as a Master or Master Select contractor as defined and certified by GAF®.

      - Installer shall be classified as a Master Select contractor as defined and certified by GAF®.

      - Installer shall be classified as a Master contractor as defined and certified by GAF®.

      - Installer shall be classified as an Authorized contractor as defined and certified by GAF®.

    - Source Limitations:  All components listed in this section shall be provided by a single manufacturer or approved by the primary roofing manufacturer.

    - Final Inspection		***ONLY DIAMOND PLEDGE***

Manufacturer’s representative shall provide a comprehensive final inspection after completion of the roof system.  All application errors must be addressed and final punch list completed.

  - PRE-INSTALLATION CONFERENCE

    - Prior to scheduled commencement of the roofing installation and associated work, conduct a meeting at the project site with the installer, architect, owner, GAF® representative and any other persons directly involved with the performance of the work.  The installer shall record conference discussions to include decisions and agreements reached (or disagreements), and furnish copies of recorded discussions to each attending party.  The main purpose of this meeting is to review foreseeable methods and procedures related to roofing work.

  - PERFORMANCE REQUIREMENTS

    - Provide an installed roofing membrane and base flashing system that does not permit the passage of water, and will withstand the design pressures calculated in accordance with the most current revision of ASCE 7.

    - GAF® shall provide all primary roofing materials that are physically and chemically compatible when installed in accordance with manufacturers current application requirements.

  - REGULATORY REQUIREMENTS

    - All work shall be performed in a safe, professional manner, conforming to all federal, state and local codes.

    - Exterior Fire Test Exposure:  Provide a roofing system achieving a UL Class A B C  ***CHOOSE ONE*** rating for roof slopes indicated.

    - Windstorm Classification:  Provide a roofing system which will achieve a Factory Mutual 1-60 1-75 1-90 1-120 ***CHOOSE ONE*** wind uplift rating, as listed in the current FM Approval Guide.

  - DELIVERY, STORAGE AND HANDLING

    - Deliver all roofing materials to the site in original containers, with factory seals intact.  All products are to carry either a GAF®MC or GAF® label.

    - Store all pail goods in their original undamaged containers in a clean, dry location within their specified temperature range. Reference data sheets for product storage requirements.

    - Do not expose materials to moisture in any form before, during or after delivery to the site. Reject delivery of materials that show evidence of contact with moisture.

    - Use “breathable” type covers such as canvas tarpaulins to allow venting and protection from weather and moisture. Cover and protect materials at the end of each work day.  Do not remove any protective tarpaulins until immediately before the material will be installed.

  - PROJECT CONDITIONS

    - Weather

      - Proceed with roofing only when existing and forecasted weather conditions permit.

      - Ambient temperatures must be above 45°F (7.2°C) when applying hot asphalt or water based adhesives.

  - WARRANTY/GUARANTEE

***CHOOSE ONE WARRANTY/GUARANTEE***

    - Provide manufacturers standard WeatherStopper® Diamond Pledge Guarantee

***CHOOSE ONE***

      - Single source coverage and no monetary limitation where the manufacturer agrees to repair or replace components in the roofing system, which cause a leak due to a failure in materials or workmanship.

        - Duration: Five(5), Ten (10), Fifteen (15), Twenty (20) ***CHOOSE ONE*** years from the date of completion.

      - Single source Edge to Edge coverage and no monetary limitation where the manufacturer agrees to repair or replace components in the roofing system, which cause a leak due to a failure in materials or workmanship

        - Duration: Five(5), Ten (10), Fifteen (15), Twenty (20) ***CHOOSE ONE*** years from the date of completion.

***OPTIONAL ADDITION***

      - WELL ROOF Advantage.  Provides single source coverage* and no monetary limitation, where the manufacturer agrees to repair or replace components in the roofing system, which cause a leak due to a failure in materials or workmanship.

        - Duration: Five(5), Ten (10),Twelve (12),Fifteen (15), Twenty (20) Twenty-Five (25) ***CHOOSE ONE*** years from the date of completion.

        - Extension: GAF® also guarantees to the original or first subsequent owner that coverage shall be extended by 25% of the original guarantee length, provided that the roof in inspected and maintained in accordance with the MAINTAINENCE section of this specification.

    - Provide manufacturers standard WeatherStopper® System Pledge Guarantee

      - single source coverage and a monetary limitation of one (1) dollar per square foot where the manufacturer agrees to repair or replace components in the roof system, which cause a leak due to failure in materials or workmanship.

        - Duration: Five (5), Ten (10), Fifteen (15), Twenty (20) ***CHOOSE ONE*** years from the date of completion.

*Materials and workmanship of listed products within this section when installed in accordance with current GAF® application and specification requirements.  Contact GAF® Contractor Services for the full terms and conditions of the guarantee.

    - Provide manufacturers standard WeatherStopper® Integrated Roofing System Guarantee

      - The manufacturer agrees to repair or replace the portion of the roofing materials, which have resulted in a leak due to a manufacturing defect or defects caused by ordinary wear and tear.

        - Duration: Five(5), Ten (10), Fifteen (15), Twenty (20) ***CHOOSE ONE*** years from the date of completion.

    - Provide manufacturers standard prorated material warranty

      - The manufacturer agrees to repair or replace the portion of the roofing materials that have resulted in a leak due to a manufacturing defect or defects caused by ordinary wear and tear.

        - Duration:

***60 and 80 mil only***

    - Provide manufacturers EverGuard® TPO Puncture Resistance Limited Warranty

      - The manufacturer warrants to the original building owner, that the EverGuard® TPO roof membrane will provide puncture and tear resistance when installed and maintained in accordance with GAF®’s requirements.

    - Provide manufacturers EverGuard® TPO Reflectivity Limited Warranty

      - The manufacturer warrants to the original building owner, that the EverGuard® TPO white roof membrane will meet or exceed the initial and “aged” ENERGY STAR® reflectivity requirements for low slope roofing membranes (65% initial, 50% aged) when installed and maintained in accordance with GAF®’s requirements.  The aged reflectivity shall meet or exceed these requirements when measured after cleaning the membrane in accordance with GAF® recommendations.

- PRODUCTS

  - ACCEPTABLE MANUFACTURER

    - GAF® - 1 Campus Drive, Pasippany, NJ 07054

  - ROOF BOARD

*** CHOOSE APPROPRIATE PRODUCTS OR OMIT IF NOT REQUIRED***

    - Underlayment or overlayment board with a water-resistant and silicone treated gypsum core with glass fiber facers embedded on both sides, and pre-primed on one side.  GP Dens-Deck® Prime Roof Board, distributed by GAF®.

      - Board Thickness:

      - Thermal Resistance (R value) of:

    - Underlayment or overlayment board with a water-resistant and silicone treated gypsum core with glass fiber facers embedded on both sides. GP Dens-Deck® Roof Board, distributed by GAF®

      - Board Thickness:

      - Thermal Resistance (R value) of:

    - Underlayment or overlayment board with a water-resistant and silicone treated gypsum core with glass fiber facers embedded on both sides and a factory-applied low perm, integrated, durable coating that enhances bond strength of  the membrane system. GP Dens-Deck® DuraGuard™ Roof Board, distributed by GAF®

      - Board Thickness:

      - Thermal Resistance (R value) of:

  - ROOF BOARD

***OMIT IF NOT REQUIRED***

    - Fiber-reinforced gypsum panel with an integral water-resistant core.  Securock® Roof Board by US Gypsum.

      - Board Thickness: ¼”

      - Thermal Resistance (R value) of: .20

  - SEPARATION SHEET

*** CHOOSE APPROPRIATE PRODUCTS OR OMIT IF NOT REQUIRED***

    - Fire Resistant non woven fiberglass slip sheet used as a separation sheet over polystyrene foam insulation or beneath insulation over wood substrates providing a UL class A fire rating. Each roll contains ten (10) squares (1,000 sq. ft.) of material, 6’ x 166.7’ (1.83m x 50.8m), 110 lbs nominal weight, VersaShield™ Solo® Fire Resistant Slip Sheet by GAF®.

    - Fire resistant glass fiber mat used as a separation sheet over polystyrene foam insulation or beneath insulation over wood substrates. Each roll contains ten (10) squares (1,000 sq. ft.) of material, 4’ x 250’ (1.2m x 76.9m), 80 lbs. (36.4 kg), Fiberglass Fire Sheet 10 by GAF®.

    - Fire resistant glass fiber mat used as a separation sheet over polystyrene foam insulation or beneath insulation over wood substrates. Each roll contains four (4) squares (420 sq. ft.) of material, 4’ x 105’ (1.2m x 32.3m), 79 lbs. (35.9 kg), Fiberglass Fire Sheet 50 by GAF®.

    - Non-woven polyester UV-stabilized mat, 3 oz./sq. yd. used as a separation sheet beneath membranes as a protection layer and used over membranes in ballast applied assemblies. Each roll contains thirty (30) squares (3,000 sq. ft.) of material, 10’ x 300’ (3.07m x 92.3m), 75 lbs. (34.1 kg), EverGuard® Poly Separation Layer 3 oz by GAF®.

    - Non-woven polyester UV-stabilized mat, 6 oz./sq. yd. used as a separation sheet beneath membranes as a protection layer and used over membranes in ballast or paver applied assemblies. Each roll contains thirty (30) squares (3,000 sq. ft.) of material, 10’ x 300’ (3.07m x 92.3m), 125 lbs. (56.8 kg), EverGuard® Poly Cushioning Layer 6 oz by GAF®.

  - MEMBRANE MATERIALS

    - A smooth type, polyester scrim reinforced thermoplastic polyolefin membrane with a nominal 0.080 inch (80 mil) thickness, for use as a single ply roofing membrane.  Meets or exceeds the minimum requirements of ASTM D-6878. UL Listed, FM Approved, Dade County Product Approval, Florida Building Code Approved.  White membrane is Energy Star Listed, CRRC Listed and Title 24 Compliant. Each full roll contains approximately 1000 sq.ft. of roofing material, 10’ X 100’, weighing 420 lbs. Each half sheet roll contains approximately 500 sq.ft. of roofing material, 5’ X 100’, weighing 210 lbs. ***half sheet roll required for roof perimeter use in mechanically attached systems*** EverGuard® TPO 80 mil thermoplastic single-ply roofing membrane by GAF®.

    - A fleece-backed, polyester scrim reinforced thermoplastic polyolefin membrane with a nominal 0.080 inch (80 mil) thickness, for use as a single ply roofing membrane.  Meets or exceeds the minimum requirements of ASTM D-6878.  Each full roll contains approximately 500 sq.ft. of roofing material, 10’ X 50’, weighing 232 lbs. Each half sheet roll contains approximately 500 sq.ft. of roofing material, 5’ X 50’, weighing 116 lbs. ***half sheet roll required for roof perimeter use in mechanically attached systems*** EverGuard® TPO 80 mil Fleece-Back Membrane thermoplastic single-ply roofing membrane by GAF®.

      - Available Stock Colors: White

  - FLASHING MATERIALS

***CHOOSE APPROPRIATE PRODUCTS***

    - A smooth type, polyester scrim reinforced thermoplastic polyolefin membrane with a nominal 0.050 inch (50 mil) thickness, for use as a single ply roofing membrane.  Engineered to provide high solar reflectivity and extremely high UV and thermal resistance.  These combined characteristics produce a single-ply membrane suitable for the most demanding solar installations as well as any other high heat or solar loading applications. Meets or exceeds the minimum requirements of ASTM D-6878. UL Listed and FM Approved.  Each full roll contains approximately 1000 sq.ft. of roofing material, 10’ X 100’, Each half sheet roll contains approximately 500 sq.ft. of roofing material, 5’ X 100’. EverGuard Extreme® TPO 50 mil thermoplastic single-ply roofing membrane by GAF®.

    - A smooth type, polyester scrim reinforced thermoplastic polyolefin membrane with a nominal 0.060 inch (60 mil) thickness, for use as a single ply roofing membrane.  Engineered to provide high solar reflectivity and extremely high UV and thermal resistance.  These combined characteristics produce a single-ply membrane suitable for the most demanding solar installations as well as any other high heat or solar loading applications. Meets or exceeds the minimum requirements of ASTM D-6878. UL Listed and FM Approved.  Each full roll contains approximately 1000 sq.ft. of roofing material, 10’ X 100’ Each half sheet roll contains approximately 500 sq.ft. of roofing material, 5’ X 100’. EverGuard Extreme® TPO 60 mil thermoplastic single-ply roofing membrane by GAF®.

    - A smooth type, polyester scrim reinforced thermoplastic polyolefin membrane with a nominal 0.070 inch (70 mil) thickness, for use as a single ply roofing membrane.  Engineered to provide high solar reflectivity and extremely high UV and thermal resistance.  These combined characteristics produce a single-ply membrane suitable for the most demanding solar installations as well as any other high heat or solar loading applications. Meets or exceeds the minimum requirements of ASTM D-6878. UL Listed and FM Approved.  Each full roll contains approximately 1000 sq.ft. of roofing material, 10’ X 100’, Each half sheet roll contains approximately 500 sq.ft. of roofing material, 5’ X 100’. EverGuard Extreme® TPO 70 mil thermoplastic single-ply roofing membrane by GAF®.

    - A smooth type, polyester scrim reinforced thermoplastic polyolefin membrane with a nominal 0.080 inch (80 mil) thickness, for use as a single ply roofing membrane.  Engineered to provide high solar reflectivity and extremely high UV and thermal resistance.  These combined characteristics produce a single-ply membrane suitable for the most demanding solar installations as well as any other high heat or solar loading applications. Meets or exceeds the minimum requirements of ASTM D-6878. UL Listed and FM Approved.  Each full roll contains approximately 1000 sq.ft. of roofing material, 10’ X 100’, Each half sheet roll contains approximately 500 sq.ft. of roofing material, 5’ X 100’. EverGuard Extreme® TPO 80 mil thermoplastic single-ply roofing membrane by GAF®.

    - A fleece-backed, polyester scrim reinforced thermoplastic polyolefin membrane with a nominal 0.050 inch (50 mil) thickness, for use as a single ply roofing membrane.  Engineered to provide high solar reflectivity and extremely high UV and thermal resistance.  These combined characteristics produce a single-ply membrane suitable for the most demanding solar installations as well as any other high heat or solar loading applications. Meets or exceeds the minimum requirements of ASTM D-6878.  Each full roll contains approximately 1000 sq.ft. of roofing material, 10’ X 100’,. Each half sheet roll contains approximately 500 sq.ft. of roofing material, 5’ X 100’,. EverGuard Extreme® TPO 50 mil Fleece-Back Membrane thermoplastic single-ply roofing membrane by GAF®.

    - A fleece-backed, polyester scrim reinforced thermoplastic polyolefin membrane with a nominal 0.060 inch (60 mil) thickness, for use as a single ply roofing membrane.  Engineered to provide high solar reflectivity and extremely high UV and thermal resistance.  These combined characteristics produce a single-ply membrane suitable for the most demanding solar installations as well as any other high heat or solar loading applications. Meets or exceeds the minimum requirements of ASTM D-6878.  Each full roll contains approximately 1000 sq.ft. of roofing material, 10’ X 100’,. Each half sheet roll contains approximately 500 sq.ft. of roofing material, 5’ X 100’, weighing 175 lbs. EverGuard Extreme® TPO 60 mil Fleece-Back Membrane thermoplastic single-ply roofing membrane by GAF®.

    - A fleece-backed, polyester scrim reinforced thermoplastic polyolefin membrane with a nominal 0.070 inch (70 mil) thickness, for use as a single ply roofing membrane.  Engineered to provide high solar reflectivity and extremely high UV and thermal resistance.  These combined characteristics produce a single-ply membrane suitable for the most demanding solar installations as well as any other high heat or solar loading applications. Meets or exceeds the minimum requirements of ASTM D-6878.  Each full roll contains approximately 500 sq.ft. of roofing material, 10’ X 50’,. Each half sheet roll contains approximately 500 sq.ft. of roofing material, 5’ X 50’.  EverGuard Extreme® TPO 70 mil Fleece-Back Membrane thermoplastic single-ply roofing membrane by GAF®.

    - A fleece-backed, polyester scrim reinforced thermoplastic polyolefin membrane with a nominal 0.080 inch (80 mil) thickness, for use as a single ply roofing membrane.  Engineered to provide high solar reflectivity and extremely high UV and thermal resistance.  These combined characteristics produce a single-ply membrane suitable for the most demanding solar installations as well as any other high heat or solar loading applications. Meets or exceeds the minimum requirements of ASTM D-6878.  Each full roll contains approximately 500 sq.ft. of roofing material, 10’ X 50’, Each half sheet roll contains approximately 500 sq.ft. of roofing material, 5’ X 50’,.  EverGuard Extreme® TPO 80 mil Fleece-Back Membrane thermoplastic single-ply roofing membrane by GAF®

      - Available Stock Colors: White

  - ADHESIVES, SEALANTS and PRIMERS

***CHOOSE APPROPRIATE PRODUCTS***

    - Solvent-based Bonding Adhesive: Solvent based rubberized adhesive for use with EverGuard® TPO membranes, EverGuard® 1121 Bonding Adhesive, by GAF®.

    - Low VOC solvent-based Bonding Adhesive: Solvent based rubberized adhesive for use with EverGuard® TPO membranes, EverGuard® Low VOC Bonding Adhesive, by GAF®.

    - Two-part VOC free low rise polyurethane foam adhesive for use with fleece-back membranes, LRF Adhesive O or M by GAF®.

    - One-part moisture cure, self-leveling sealant designed for use in pitch pans EverGuard® One-Part Pourable Sealer by GAF®.

    - Water-based Bonding Adhesive: Water based rubberized adhesive for use with EverGuard® TPO membranes, EverGuard® WB181 Bonding Adhesive, by GAF®.

    - Solvent based liquid, required to protect field cut edges of EverGuard® TPO membranes.  Applied directly from a squeeze bottle, EverGuard® TPO Cut Edge Sealant, by GAF®.

    - Solvent based primer for preparing surfaces to receive butyl based adhesive tapes, EverGuard® TPO Primer, by GAF®.

    - Low VOC solvent based primer for preparing surfaces to receive butyl based adhesive tapes, EverGuard® TPO Low VOC Primer, by GAF®.

    - Solvent based seam cleaner used to clean exposed or contaminated seam prior to heat welding, EverGuard® TPO Seam Cleaner, by GAF®.

    - Low VOC solvent based cleaner used to clean exposed or contaminated seam prior to heat-welding or priming, EverGuard® CleanWeld™Conditioner, by GAF®.

    - Solvent based, trowel grade synthetic elastomeric sealant. Durable and UV resistant suitable for use where caulk is typically used. Available in 10 oz. tubes, FlexSeal™ Caulk Grade by GAF®.

    - Commercial grade roofing sealant suitable for sealing the upper lip of exposed termination bars and penetrations and around clamping rings and comes with a 20 yr ltd warranty against leaks caused by manufacturing defects.  Meets the performance criteria of ASTM D412, ASTM D2196, ASTM D1475 and ASTM D1644,  FlexSeal™ Roof Sealant, by GAF®.

    - One part butyl based high viscosity sealant suitable for sealing between flashing membrane and substrate surface behind exposed termination bars and for sealing between roofing membrane and drain flange. EverGuard® Water Block, by GAF®.

    - 100% solids urethane based two-part sealant suitable for filling sealant pans at irregularly-shaped penetrations. EverGuard® Two-Part Pourable Sealant, by GAF®.

    - Insulation Adhesive: Oly-Bond 500™ distributed by GAF®.

    - Insulation Adhesive: Oly-Bond 500™ Spot Shot distributed by GAF®.

    - Insulation Adhesive: Oly-Bond 500™ Green distributed by GAF®.

    - Insulation Adhesive: Oly-Bond 500™ Spot Shot Green distributed by GAF®.

    - Insulation Adhesive: Insta-Stik by Dow Chemical

*It is the responsibility of those involved with the design of the building to obtain indemnification for the attachment and integrity of the Insta-Stik Product.  GAF® assumes no responsibility for the Insta-Stik product or its performance within the system.

  - BITUMEN				***If Required***

    - Asphalt bitumen: ASTM D 312 Type III & IV

  - PLATES & FASTENERS

***CHOOSE APPROPRIATE PRODUCTS***

    - Drill•Tec™ Standard Screws: Standard duty alloy steel insulation fastener with CR-10 coating with a .215” diameter thread. Factory Mutual Standard 4470 Approved, #3 Phillips head for use on steel and wood decks.

    - Drill•Tec™ ASAP® 3P Fastener: Assembled screw and 3” locking plastic plate. Alloy steel fastener with CR-10 coating with a .215” diameter thread. Factory Mutual Standard 4470 Approved, #3 Phillips truss head.

    - Drill•Tec™ ASAP® 3S Fastener: Assembled screw and 3” steel plate. Alloy steel fastener with CR-10 coating with a .215” diameter thread. Factory Mutual Standard 4470 Approved, #3 Phillips truss head.

    - Drill•Tec™ Polymer GypTec™ Fastener: Glass-filled nylon auger with 1" (25.4 mm) with major thread diameter of .675. To be used with 3" steel plate for insulation and 2" steel plate for single-ply membranes. Miami Dade and Factory Mutual Standard 4470 approved (for insulation attachment)

    - Drill•Tec™ HD Screws: Heavy gauge alloy steel fastener with CR-10 coating with a .245” diameter thread. Miami Dade and Factory Mutual Standard 4470 Approved, #3 Phillips truss head for use on wood, concrete and steel decks.

    - Drill•Tec™ XHD Screws: Heavy gauge alloy steel fastener with CR-10 coating with a .275” diameter thread. Factory Mutual Standard 4470 Approved, #3 Phillips truss head for use on heavy steel decks, O.S.B or aluminum roof decks.

    - Drill•Tec™ SXHD Screws: Heavy gauge alloy steel fastener with CR-10 coating with a .320” diameter thread. Factory Mutual Standard 4470 Approved, #3 Phillips truss head for use on specific FM assemblies on heavy steel decks.

    - Drill•Tec™ Lite-Deck Fastener: A large diameter reinforced nylon screw with a #3 square drive flat head. Thread diameter of .375” and shank diameter of .312”. Uses a 3" (76 mm) Metal Round Plate fastening system.

    - Drill•Tec™ CR Base Sheet Fastener: G-90 galvanized, CR-10 Corrosion resistant coating with 1.125” x1” (25.4 mm) head and 1 3/4” (44 mm) leg length.  Preassembled with 2 3/4” (70 mm) diameter Galvalume steel roof disc.

    - Drill•Tec™ CR 1.2 Base Sheet Fastener: G-90 galvanized, CR-10 Corrosion resistant coating with 1.125” x1” (25.4 mm) head and 1.2”leg length.  Preassembled with  2 3/4” (70 mm) Diameter Galvalume steel roof disc.

    - DrillTec™ Purlin Fastener: Alloy steel fastener with CR-10 coating with a .210” diameter thread. Factory Mutual Standard 4470 Approved, ¼” hex head. For use when mechanically fastening single-ply membranes in metal-retrofit applications.

    - Nail-Tite Type-R Fasteners: Self-locking one-piece fastener for securing base ply when roofing over existing poured gypsum roof decks. Shank: 1” (25.4 mm) tapered cone precision formed from corrosion resistant galvanized (G-90) steel. Cap: 1-1/4” round cap formed from corrosion resistant Galvalume (AZ-55) steel, reinforced to resist cupping during driving. The shank is securely wedged to cap forming rigid one-piece fastener, by E. S. Products.

    - Drill•Tec™ AccuTrac Insulation Plates: Galvalume coated steel 3" square plates recessed or flat bottom. Miami Dade and Factory Mutual Standard 4470 Approved  and suitable for use with Drill•Tec standard fasteners, Drill•Tec heavy duty fasteners, Drill•Tec extra heavy duty fasteners. Made for east use with Drill•Tec AccuTrac stand up tool

    - Drill•Tec™ Accuseam Plates: Galvalume coated steel 3" diameter plates. Miami Dade and Factory Mutual Standard 4470 Approved  and suitable for use with Drill•Tec Philips head fasteners and Drill•Tec extra heavy duty fasteners. Made for east use with Drill•Tec AccuTrac stand up tool

    - Drill•Tec™ Insulation Plates: Galvalume, 3” (76 mm) diameter, suitable for use with Drill•Tec Standard and HD screws, and Drill•Tec Spikes.  Special design available for use with Drill•Tec Polymer Screws.

    - Drill•Tec™ XHD Plates: Galvalume, 2 3/8” (60 mm) diameter, with a barbed underside.  Suitable for use with Drill•Tec Standard, HD, and XHD Screws, and Drill•Tec  Spikes.

    - Drill•Tec™ SXHD Plates: Galvalume, 2 3/4” (70 mm) diameter, with a double barbed underside.  Required for use with Drill•Tec SXHD Screws, HD Screws and Drill•Tec Spikes for specific FM assemblies.

    - Drill•Tec™ SHD Plates: Galvalume, 2” (52 mm) diameter, with a double barbed underside.  Suitable for use with Drill•Tec Standard, HD, XHD, and SXHD Screws, and Drill•Tec Spikes.

    - Drill•Tec™ Lite-Deck Plate: Galvalume, plate with extra wide diameter designed specifically for Lite-Deck Fastener.

    - DrillTec™ Locking Impact Nail: Factory Assembled, G-90 Galvalume Coated fastener designed to install base sheets or insulation to gypsum or cementitious wood fiber.  1.8” to 4.8” lengths available with a 2.7” diameter plate.

  - NAILS & SPIKES

***CHOOSE APPROPRIATE PRODUCTS***

    - Drill-Tec™ CD-10: Hammer-in, non-threaded fastener designed to secure insulation and membrane to structural concrete. Miami Dade and Factory Mutual Standard 4470 approved

    - Drill-Tec™ Spikes: Hammer-in, non-threaded fastener designed to secure insulation and membrane to structural concrete.  Alloy steel fastener with a CR-10 coating and a .250 shank diameter.

    - Drill-Tec™ Masonry Anchor: Zinc alloy anchor with stainless steel or zinc plated steel pin available in either 1/4" or 3/16" diameter. Designed to attach termination bars to concrete or masonry walls.

    - Threaded Cap Nail: Annular-threaded electro-galvanized with yellow di-chromate coating, with 1” (25.4 mm) round or square cap, as manufactured by the Simplex Nail Corporation.

    - Two-Piece Tube Nail: 1” diameter cap; when the nail is driven down through the tube of first part that was installed, the nail hooks up to provide backout resistance, as manufactured by The Simplex Corporation

  - PAVERS

    - Extruded polystyrene insulation panels with an integral latex-molded mortar top face.  Nominal 2” thick insulated pavers to be provided with tongue and groove interlocking edges.

  - ACCESSORIES

***CHOOSE APPROPRIATE PRODUCTS***

    - FLASHING ACCESSORIES

      - A smooth type, unreinforced thermoplastic polyolefin based membrane for use as an alternative flashing/reinforcing material for penetrations and corners.  Required whenever preformed vent boots cannot be used, available in White, Tan, Gray, Regal Red, Regal Blue, and Hartford Green, 0.055 inches (55 mils) nominal thickness and sheet size: 24in x 50ft. EverGuard® TPO Detailing Membrane, by GAF®.

      - An 8 inch (203 mm) wide smooth type, polyester scrim reinforced thermoplastic polyolefin membrane strip for use as a cover strip over coated metal and stripping-in coated metal flanges and general repairs: 0.045 inches (45 mils) nominal thickness with 100 foot length, available in White, Tan, Gray, Regal Red, Regal Blue, and Hartford Green EverGuard® TPO Flashing Membrane, by GAF®.

      - Extruded aluminum termination bar with angled lip caulk receiver and lower leg bulb stiffener. Pre-punched slotted holes at 6” on center or 8” on center. ¾” x 10’ with 0.090” cross section, Drill-Tec™ Termination Bar, by GAF®.

      - Decorative metal fascia with continuos galvanized steel spring cant to terminate membrane at perimeter, EverGuard® Snap-on Fasia by GAF®

****This product is only good up to 20 yr NDL only****

      - A 6 inch (152 mm) wide, 0.045 mil reinforced TPO membrane with a 3-inch self-adhered area and a 3-inch heat-weld area.  Designed for use as a cover strip over coated and non-coated metal edges and flanges. Each full roll contains approximately 100 Lineal Ft. of material, 6” X 100’.  EverGuard® TPO Cover Tape Heat-Weld, by GAF®.

****This product is only good up to 15 yr NDL only****

      - A 6 inch (152 mm) wide, smooth type, polyester scrim reinforced thermoplastic polyolefin membrane strip with a factory laminated butyl tape.  Designed for use as a cover strip over non-coated metal edges and flanges. Each full roll contains approximately 100 Lineal Ft. of material, 6” X 100’.  EverGuard® TPO Cover Tape, by GAF®.

***********Take out for 20 yr NDL, this product is only good up to 15 yr NDL**************

      - .045” reinforced TPO membrane with pressure sensitive adhesive, to be installed on horizontal surfaces using plates and fasteners as a base attachment in fully adhered systems.  Size 6” x 100’, EverGuard® RTA (Roof Transition Anchor) Strip™, by GAF®

      - 24 gauge steel with 0.025” thick TPO based film as required for fabrication into metal gravel stop and drip edge profiles, metal base and curb flashings, sealant pans, and scupper sleeves. Standard sheet size 4’ x 10’, sheet weight 47 lbs. Custom sizes available, EverGuard® TPO Coated Metal, by GAF®.

        - Available Stock Colors: White

      - Two-part assembly with a rigid extruded termination base plate, and a decorative snap-on fascia cover for single-ply roofs. The system shall have all concealed fasteners with no penetration on horizontal roof surface available in 10' lengths, EverGuard® EZ Fascia EX by GAF®.

      - A two-part assembly with a rigid terminator base plate, and a decorative snap-on fascia cover for single-ply roofs with raised perimeter edges. The system shall have all concealed fasteners with no penetration on horizontal roof surface available in 10 foot lengths, EverGuard® EZ Fascia by GAF®.

***This product compatible with 45 and 60 mil TPO only***

      - Decorative metal fascia with continuous galvanized steel spring cant to terminate single-ply roofing at perimeter. The system shall be watertight with concealed splice plates and no exposed fasteners available in 10' lengths, EverGuard® Snap-on Fascia by GAF®

    - WALL & CURB ACCESSORIES

      - 55 mil TPO membrane and 24 gauge coated metal prefabricated into standard and custom size thru wall scuppers.  Avaialable in two sizes: 4" x 6" x 12" (l x w x d) with a 5.75" x 3.75" opening and 8" x 10" x 12" (l x w x d) with a 9.75" x 7.75" opening,   EverGuard® TPO Scupper, by GAF®

      - .045” or .060” thick reinforced TPO membrane fabricated corners.  Available in four standard sizes to flash curbs that are 24”, 36”, 48”, and 60” in size.  Four corners are required to flash the curb, EverGuard® Corner Curb Wraps, by GAF®.

      - 0.060” thick molded TPO membrane outside corners of base and curb flashing.  Hot-air welds directly to EverGuard® TPO membrane. Size 4” x 4” with 6” flange, EverGuard® TPO Universal Corners by GAF®.

      - 0.055” molded TPO membrane inside corners of base and curb flashing.  Hot-air welds directly to EverGuard® TPO membrane. Size 6” x 6” x 5.5” high EverGuard® TPO Preformed Corners by GAF®.

      - 8” diameter, nominal .050” vacuum formed unreinforced TPO membrane for use in flashing outside corners of base and curb flashings, EverGuard® TPO Fluted Corner, by GAF®.

    - PENETRATION ACCESSORIES

      - 0.075” thick molded TPO membrane sized to accommodate most common pipe and conduits, (1” (25.4 mm) to 6” diameter pipes), including square tube.  Hot-air welded directly to EverGuard® TPO membrane, supplied with stainless steel clamping rings, EverGuard® TPO Preformed Vent Boots by GAF®.

      - 0.045” or 0.60” thick molded TPO membrane preformed boots are split to accommodate most common pipes and conduits and available in three standard sizes, EverGuard® TPO Split Pipe Boots, by GAF®.

      - 0.045” or 0.60” thick molded TPO membrane preformed square boots are split to accommodate most common square penetrations and conduits and available in three standard sizes, EverGuard® TPO Square Tube Wraps, by GAF®.

      - .070 thick molded penetration pocket to provide structure and foundation for the application of  a pourable sealant for a variety of roof penetrations , weldable and 9" x 6" x 4" (l x w x h) . EverGuard® TPO Pourable Sealer Pocket

      - .055” thick smooth type, unreinforced thermoplastic polyolefin membrane designed for use as a conforming membrane seal over T-joints in 60 and 80 mil membrane applications. EverGuard® TPO Drain by GAF®

    - FIELD OF ROOF ACCESSORIES

      - Pre-manufactured expansion joint covers used to bridge expansion joint openings in a roof structure. Fabricated to accommodate all roof to wall and roof to roof applications, made of .060” reinforced TPO membrane, available in 5 standard sizes for expansion joint openings up to 8” wide. EverGuard® TPO Expansion Joint Covers, by GAF®

      - .055” thick smooth type, unreinforced thermoplastic polyolefin membrane designed for use as a conforming membrane seal over T-joints in 60 and 80 mil membrane applications. EverGuard® T-Joint Patches, by GAF®.

      - 1/8” thick extruded and embossed TPO roll 30” x 50’, heat welds directly to roofing membrane. Unique herringbone traction surface. Gray in color, EverGuard® TPO Walkway Rolls, GAF®.

- EXECUTION

  - EXAMINATION

    - Verify that the surfaces and site conditions are ready to receive work.

    - Verify that the deck is supported and secured.

    - Verify that the deck is clean and smooth, free of depressions, waves, or projections, and properly sloped to drains, valleys, eaves, scuppers or gutters.

    - Verify that the deck surfaces are dry and free of ice or snow.

    - Verify that all roof openings or penetrations through the roof are solidly set, and that all flashings are tapered.

  - SUBSTRATE PREPARATION

    - Recover

      - Suitable roofs for recover shall be free of dust, dirt, debris, and any contaminants that may adversely affect the performance of the new roof.  Areas of substantial deck deflection or membrane imperfections shall be corrected prior to installing any new roofing.

      - For recover installations over single-ply, fluid applied, coal tar and metal roofs, contact GAF® Contractor Services for prior approval and technical requirements.

      - Taking test cuts to verify the existing roof construction and condition. Three test cuts should be made for roofs under 100 squares and one test cut per 100 squares above the minimum amount. It is highly recommended and in certain circumstances, required, that a moisture survey be made to determine the extent of wet insulation and moisture entrapment.  Contact GAF® Contractor Services for more information on moisture surveys.

      - Existing substrates and insulation (if applicable) must be dry over the majority of the roof area. Wet or deteriorated areas of insulation and substrate must be removed and replaced with new materials. When adhering insulation or new roofing directly to the existing roof surface, the existing roof system components must be well attached to each other and their substrate.

      - All applicable code requirements must be met for recover over an existing roofing system.

      - GAF® does not recommend partial recover or re-roofing of a single roof area due to the potential for defects in the portion of the roof system not replaced or negatively affecting the performance of the new membrane. When required by project conditions or budget considerations, GAF® requires full separation of the old and new roof areas by means of a full curb mounted expansion joint or area divider installed to provide a complete watertight seal or break between areas. Tie-in constructions, in which the old and new membranes are adhered directly to each other and stripped in are not acceptable for coverage under certain guarantees.

  - INSTALLATION - GENERAL

    - Install GAF®’s EverGuard® TPO roofing system according to all current application requirements in addition to those listed in this section.

    - GAF® EverGuard® TPO Specification #:  T-MA-R-N-80/80FB

    - Start the application of membrane plies at the low point of the roof or at the drains, so that the flow of water is over or parallel to, but never against the laps.

  - BITUMEN HANDLING			***IF REQUIRED***

    - Do not mix different types of asphalt.

    - Use only ASTM D 312, Type III or Type IV Steep Asphalt. Type III asphalt may be used on slopes up to ½” per foot (4cm/m). Type IV asphalt must be used on all slopes greater than ½” per foot (4 cm/m).

    - Application with hot asphalt requires continuous, uniform interply mopping rates of 25 lbs. +/- 20% per 100 square feet of roof area (1.2 kg/m²). rates up to 60lbs per 100 sq.ft may be required if the substrate surface is rough or porous.

    - Application temperature of the asphalt must be at the Equiviscous Temperature (EVT) with a tolerance of +/- 25°F (13.9°C), at which a viscosity of 125 centipoise is attained. When using mechanical asphalt applicators, the target viscosity should be 75 centipoise.

    - For all SBS modified asphalt flashings; the minimum application temperature of the asphalt must be at the EVT temperature, typically between 425°F and 475oF, whichever is greater, with a rolling bank (puddle) of mopping asphalt across the full width of the roll.

    - Do not heat the asphalt to or above its flash point or hold the asphalt at temperatures above the finished blowing temperature for more than 4 hours.

    - Do not keep heated tankers above 325°F (163°C) overnight.

  - AIR/VAPOR BARRIER

    - GENERAL

      - Air/vapor barrier sheet shall typically be installed when required by design professional to address internal air pressure or humidity conditions.

      - Insulation must be installed over the air/vapor barrier sheet and mechanically attached to the deck.

    - APPLICATION

      - Install air/vapor barrier sheet loose-applied to the deck or fire board so that wrinkles and buckles are not formed.

      - Overlap air/vapor barrier sheets a minimum of 6" for side and end laps. Tape laps together with duct tape or double sided tape.

      - Seal perimeter and penetration areas with foam sealant.

  - PROTECTION LAYER

    - GENERAL

      - The protection layer shall be installed between the roofing membrane and the substrate.

***Polymat or Fiberglass Sheet Application***

      - Fire resistant fiberglass sheet protection layer shall typically be installed when required by design professionals or code authority to address code or approval requirements or as a separator layer.

      - Install fiberglass sheet or polymat protection layer loose-applied over substrate surface so that wrinkles and buckles are not formed.

      - Overlap sheets a minimum of 6" (152 mm) for side and end laps.

***Mechanically Attached Systems Only***

      - Install VersaShield Solo loose-applied over substrate surface so that wrinkles and buckles are not formed perpendicular to the direction of the TPO membrane.

      - Overlap membrane a minimum 2" (52 mm)at the side laps and minimum 4" (102 mm) at the end laps.

      - Use corrosive resistant nails with 1” (25.4 mm) diameter metal head or plastic caps  to fasten in place. Only use enough fasteners to hold in place until primary roof covering is in place.

      - Do not install more VersaShield Solo than can be covered in one day.

  - MEMBRANE APPLICATION

    - Mechanically Attached

      - Place membrane so that wrinkles and buckles are not formed. Any wrinkles or buckles must be removed from the sheet prior to permanent attachment. Roof membrane shall be mechanically fastened immediately after it is rolled out, followed by welding to adjacent sheets.

      - Overlap roof membrane a minimum of 6” (152 mm) for side laps and 3” (76 mm) for end laps.

      - Install membrane so that the side laps run across the roof slope lapped towards drainage points.

      - All exposed sheet corners shall be rounded a minimum of 1” (25.4 mm).

      - Use full width rolls in the field of roof and half width rolls in the perimeter and corner region of the roof and mechanically fastened in the side lap area to the roof deck.

      - Membrane laps shall be heat-welded together. All welds shall be continuous, without voids or partial welds. Welds shall be free of burns and scorch marks.

      - Weld shall be a minimum of 1-1/2” in width for automatic machine welding and a minimum 2” (52 mm) in width for hand welding.

      - All cut edges of reinforced membrane must be sealed with EverGuard® TPO Cut Edge Sealant.

      - The membrane shall be mechanically fastened in the side lap area to the roof deck with appropriate Drill-Tec fasteners and plates as required by roof system specification and/or Factory Mutual classification requirements.

      - The metal plates must be placed within ¼” to ½” of the membrane edge. Plates shall not be placed less than ¼” from the membrane edge.

      - In the corner regions, additional fasteners shall be installed through the perimeter membrane to form a grid pattern, with an 8” (305 mm) wide EverGuard® TPO reinforced membrane flashing-strip welded over the additional fasteners. Corners include both outside and inside corners that measure 75 - 105 angle degrees.

      - Membrane attachment to the roof deck is required at locations of deck angle changes in excess of five (5) angle degrees (1” in 12”).

      - Supplemental membrane attachment is required at the base of all walls and curbs, and where the angle of the substrate changes by more than ten (10) degrees (1” in 12”). Roofing membrane shall be secured to the structural deck with screws and plates of the same  type and spacing used for in-lap attachment. The screws and plates must be installed no less than ½” (13 mm) from the membrane edge. Alternatively, the roofing membrane may be turned up the vertical plane a minimum of 3” (76 mm) and secured with screws and termination bar  Fastener spacing is the same as is used for in-lap attachment. The termination bar must be installed within 1-1/2” to 2” of the plane of the roof membrane, with a minimum of 1” (25.4 mm) of membrane extending above the termination bar.

      - Supplemental membrane attachment to the structural deck is required at all penetrations. Roofing membrane shall be secured to the deck with appropriate Drill-Tec screws and plates.

      - Fasteners must be installed to achieve the proper embedment depth. Install fasteners without lean or tilt.

      - Install fasteners so that the plate or termination bar is drawn down tightly to the membrane surface. Properly installed fasteners will not allow the plate or termination bar to move (underdriving), but will not cause wrinkling of the membrane (overdriving).

    - Mechanically Attached Metal Retrofit System

      - Unroll the EverGuard® TPO membrane and allow to relax at least 30 minutes before installing membrane.

      - Attach a 6’ wide membrane (based on a typical purlin spacing of 5’-0” on center) by fastening the edge of the TPO membrane into the steel purlins with Drill-Tec™ Purlin Fasteners and 2 “ double barbed XHD metal plates a maximum of 12” (305 mm) o.c. Fasteners must be installed to achieve the proper embedment depth. Install fasteners without lean or tilt.

      - For purlin spacing other than 5’-0” o.c., please contact GAF® Contractor Services at 800-766-3411.

      - Place membrane so that wrinkles and buckles are not formed. Any wrinkles or buckles must be removed from the sheet prior to permanent attachment. Roof membrane shall be mechanically fastened immediately after it is rolled out, followed by welding to adjacent sheets.

      - Overlap roof membrane a minimum of 5” (127 mm) for side laps and 3” (76 mm) for end laps.

      - Install membrane so that the side laps run across the roof slope lapped towards drainage points.

      - All exposed sheet corners shall be rounded a minimum of 1” (25.4 mm).

      - Membrane laps shall be heat-welded together. All welds shall be continuous, without voids or partial welds. Welds shall be free of burns and scorch marks.

      - Weld shall be a minimum of 1-1/2” (39 mm) in width for automatic machine welding and a minimum 2” in width for hand welding.

      - All cut edges of reinforced membrane must be sealed with EverGuard® TPO Cut Edge Sealant.

      - The metal plates must be placed within ¼” to ½” of the membrane edge. Plates shall not be placed less than ¼” (7 mm) from the membrane edge.

      - Membrane attachment to the roof deck is required at locations of deck angle changes in excess of five (5) angle degrees (1” in 12”).

      - Supplemental membrane attachment is required at the base of all walls and curbs, and where the angle of the substrate changes by more than ten (10) degrees (1” in 12”). Roofing membrane shall be secured to the structural deck with screws and plates of the same  type and spacing used for in-lap attachment. The screws and plates must be installed no less than ½” (39 mm) from the membrane edge. Alternatively, the roofing membrane may be turned up the vertical plane a minimum of 3” (76 mm) and secured with screws and termination bar  Fastener spacing is the same as is used for in-lap attachment. The termination bar must be installed within 1-1/2” to 2” of the plane of the roof membrane, with a minimum of 1” (25.4 mm) of membrane extending above the termination bar.

  - FLASHINGS

    - General

      - All penetrations must be at least 24” (610 mm) from curbs, walls, and edges to provide adequate space for proper flashing.

      - Flash all perimeter, curb, and penetration conditions with coated metal, membrane flashing, and flashing accessories as appropriate to the site condition.

      - All coated metal and membrane flashing corners shall be reinforced with preformed corners or non-reinforced membrane.

      - Heat-weld all flashing membranes, accessories, and coated metal.  A minimum 2” (52 mm) wide hand weld or minimum 1-1/2" (39 mm) automatic machine weld  is required

      - All cut edges of reinforced membrane must be sealed with EverGuard® TPO Cut Edge Sealant.

      - Consult the EverGuard® Application and Specifications Manual or GAF® Contractor Services for more information on specific construction details, or those not addressed in this section.

    - Coated Metal Flashings

      - Coated metal flashings shall be formed in accordance with current EverGuard® construction details and SMACNA guidelines.

      - Coated metal sections used for roof edging, base flashing and coping shall be butted together with a ¼” (7 mm) gap to allow for expansion and contraction. Heat-weld a 6” (152 mm) wide reinforced membrane flashing strip to both sides of the joint, with approximately 1” (25.4 mm) on either side of the joint left un-welded to allow for expansion and contraction. 2” (52 mm)wide aluminum tape can be installed over the joint as a bond-breaker, to prevent welding in this area.

      - Coated metal used for sealant pans, scupper inserts, corners of roof edging, base flashing and coping shall be overlapped or provided with separate metal pieces to create a continuous flange condition, and pop-riveted securely. Heat-weld a 6” (152 mm) wide reinforced membrane flashing strip over all seams that will not be sealed during subsequent flashing installation.

      - Provide a ½” (13 mm) hem for all exposed metal edges to provide corrosion protection and edge reinforcement for improved durability.

      - Provide a ½” (13 mm) hem for all metal flange edges whenever possible to prevent wearing of the roofing and flashing membranes at the flange edge.

      - Coated metal flashings shall be nailed to treated wood nailers or otherwise mechanically attached to the roof deck, wall or curb substrates, in accordance with construction detail requirements.

    - Reinforced Membrane Flashings

      - The thickness of the flashing membrane shall be the same as the thickness of the roofing membrane.

      - Membrane flashing may either be installed loose or fully adhered to the substrate surface in accordance with “Construction Detail Requirements”.

      - Where flashings are to be fully adhered, apply bonding adhesive at a rate resulting in 60 square feet/gallon of finished roofing material for solvent-based bonding adhesives, and at a rate of 125 square feet/gallon of finished roofing material for water-borne bonding adhesive. Apply bonding adhesive to both the underside of the membrane and the substrate surface at 120 square feet per gallon (Solvent Based) and 250 square feet per gallon (Water Based). A greater quantity of bonding adhesive may be required based upon the substrate surface condition.  The bonding adhesive must be allowed to dry until tacky to the touch before flashing membrane application.

      - Apply the adhesive only when outside temperature is above 40°F. Recommended minimum application temperature is 50°F to allow for easier adhesive application.

      - The membrane flashing shall be carefully positioned prior to application to avoid wrinkles and buckles.

    - Un-reinforced Membrane Flashings

      - Un-reinforced membrane is used to field-fabricate penetration or reinforcement flashings in locations where preformed corners and pipe boots cannot be properly installed.

      - Penetration flashings constructed of un-reinforced membrane are typically installed in two sections, a horizontal piece that extends onto the roofing membrane and a vertical piece that extends up the penetration. The two pieces are overlapped and hot-air welded together.

      - The un-reinforced membrane flashing shall be adhered to the penetration surface. Apply bonding adhesive at a rate resulting in 60 square feet/gallon of finished roofing material for solvent-based bonding adhesives, and at a rate of 125 square feet/gallon of finished roofing material for water-borne bonding adhesive. Apply bonding adhesive to both the underside of the membrane and the substrate surface at 120 square feet per gallon (Solvent Based) and 250 square feet per gallon (Water Based). A greater quantity of bonding adhesive may be required based upon the substrate surface condition.  The bonding adhesive must be allowed to dry until tacky to the touch before flashing membrane application.

    - Roof Edges

      - Roof edge flashings are applicable for gravel stop and drip edge conditions as well as for exterior edges of parapet walls.

      - Flash roof edges with coated metal flanged edging with a minimum 3" (76 mm) wide flange nailed 4" (102 mm) on center to wood nailers, and heat weld roof membrane to metal flanges.

      - When the fascia width exceeds 4” (102 mm), coated metal roof edging must be attached with a continuous cleat to secure the lower fascia edge. The cleat must be secured to the building no less than 12” (305 mm) o.c.

      - Flash roof edge scuppers with a coated metal insert that is mechanically attached to the roof edge and integrated as a part of the metal edging.

      - Alternatively, roof edges may be flashed with a 2-piece snap on fascia system, adhering the roof membrane to a metal cant and face nailing the membrane 8” (152 mm) on center prior to installing a snap-on fascia.

        - Submit design drawings for review and approval to Architect or Specifier before fabrication.

        - Installing contractor shall check as-built conditions and verify the manufacturer’s roof edging details for accuracy to fit the wall assembly prior to fabrication. The installer shall comply with the roof edging manufacturer’s installation guide when setting edging.

    - Parapet and Building Walls

      - Flash walls with EverGuard® TPO membrane adhered to the substrate with bonding adhesive, loose applied (Less than 24” (610 mm) in height) or with coated metal flashing nailed 4” (102 mm) on center to pressure-treated wood nailers.

      - Secure membrane flashing at the top edge with a termination bar. EverGuard® Water Block shall be applied between the wall surface and membrane flashing underneath all exposed termination bars. Exposed termination bars shall be mechanically fastened 8” on center; termination bars that are counter flashed shall be fastened 12” on center.

      - Roof membrane must be mechanically attached along the base of walls with screws and plates (deck securement) or screws and inverted termination bar (wall securement) at the following rate:

        - Mechanically Attached Systems	Use side lap o.c. spacing, with a 12”(305 mm) maximum

        - Fully Adhered System		12” (305 mm) on center

        - Ballast Applied Systems		8” (152 mm) on center

      - All coated metal wall flashings and loose applied membrane flashings must be provided with separate metal counterflashings, or metal copings.

      - Metal counterflashings may be optional with fully adhered flashings depending on guarantee requirements. Exposed termination bars must be sealed with  Flexseal™ Roofing Cement or  Flexseal™ Caulk Grade.

      - Flash wall scuppers with a coated metal insert that is mechanically attached to the wall and integrated as part of the wall flashing.

    - Curbs and Ducts

      - Flash curbs and ducts with EverGuard® TPO membrane adhered to the curb substrate with bonding adhesive, loose applied (Less than 24” (610 mm) in height)  or with coated metal flashing nailed 4” on center to pressure-treated wood nailers.

      - Secure membrane flashing at the top edge with a termination bar. Water Block shall be applied between the curb/duct surface and membrane flashing underneath all termination bars. Exposed termination bars shall be mechanically fastened every 8” (203 mm) o.c.; termination bars that are counter flashed shall be fastened 12” (305 mm) on center.

      - Roof membrane must be mechanically attached along the base of walls with screws and plates (deck securement) or screws and inverted termination bar (wall securement) at the following rate:

        - Mechanically Attached Systems	 Use side lap o.c. spacing, with a 12”(305 mm) maximum

        - Fully Adhered System		12” (305 mm)on center

        - Ballast Applied Systems		8” (152 mm) on center

      - All coated metal curb flashings and loose applied membrane flashings must be provided with separate metal counterflashings, or metal copings.

      - Metal counterflashings may be optional with fully adhered flashings depending on guarantee requirements. Exposed termination bars must be sealed with  Flexseal™ Roofing Cement.

    - Roof Drains

      - Roof drains must be fitted with compression type clamping rings and strainer baskets. Original-type cast iron and aluminum drains, as well as retrofit-type cast iron, aluminum or molded plastic drains are acceptable.

      - Roof drains must be provided with a minimum 36” x 36” (914 mm x 914 mm) sump if applicable. Slope of tapered insulation within the sump shall not exceed 4” in 12”.

      - Extend the roofing membrane over the drain opening. Locate the drain and cut a hole in the roofing membrane directly over the drain opening. Provide a ½” (13 mm) of membrane flap extending past the drain flange into the drain opening. Punch holes through the roofing membrane at drain bolt locations.

      - For cast iron and aluminum drains, the roofing membrane must be set in a full bed of water block on the drain flange prior to securement with the compression clamping ring. Typical water block application is one 10.5 ounce cartridge per drain.

      - Lap seams shall not be located within the sump area. Where lap seams will be located within the sump area, a separate roof membrane drain flashing a minimum of 12” (305 mm) larger than the sump area must be installed. The roof membrane shall be mechanically attached 12” (305 mm) on center around the drain with screws and plates. The separate roof drain flashing shall be heat welded to the roof membrane beyond the screws and plates, extended over the drain flange, and secured as above.

      - Tighten the drain compression ring in place.

    - Expansion Joints

      - The membrane shall be mechanically fastened (or fully adhered based on system) along edge of expansion joint opening with appropriate Drill-Tec fasteners and plates within ¼” to ½” of the membrane edge 12” (305 mm) o.c.

      - When expansion joint is on curbs, the reinforced flashing must be bonded to curb face with EverGuard® Bonding Adhesive and membrane on top of curb face must be nailed 12” (305 mm) o.c. with deformed shank roofing nail with 3/8” wide head.

      - The expansion joint cover bellows shall be at least 1.5 times the expansion joint opening.

      - Alternately, expansion joints may be field fabricated.

  - SEPARATION MAT				***OMIT IF NOT REQUIRED***

    - Apply a 3 oz poly separation slip-sheet above the roofing membrane under all ballasted installations where existing stone ballast is reused or where the underside of the paver is smooth and regular, and has integral drainage channels.

    - Apply a 6 oz poly cushioning slip-sheet above the roofing membrane under all paver applications where pavers are used as walkways, work surfaces, or as heavyweight perimeter ballast.

    - Loose-lay separation mat over the membrane so that wrinkles and buckles are not formed. Overlap separation mat a minimum of 6” (152 mm)for side and end laps, and immediately install ballast or pavers over the loose laid separation mat.

  - INTERLOCKING PAVERS			***OMIT IF NOT REQUIRED***

    - Install interlocking concrete pavers in accordance with requirements determined by the most current revision of ASCE 7, and the paver manufacturer’s recommendations for stagger and interlock.

    - Utilize perimeter securement of interlocking pavers and/or paver clips in accordance with the paver manufacturer’s requirements.

  - NON-INTERLOCKING PAVERS		***OMIT IF NOT REQUIRED***

    - Install non-Interlocking concrete pavers in accordance with requirements determined by the most current revision of ASCE 7 and the paver manufacturer’s requirements.

    - Utilize perimeter securement of non-interlocking pavers in accordance with the paver manufacturer’s requirements.

  - STONE BALLAST

    - Install stone ballast in accordance with requirements determined by the most current revision of ANSI RP-4.

      - Minimum ballast application rate for #4 nominal 1-1/2" ballast is 10 lbs. per sq.ft.

      - Minimum ballast application rate for #2 nominal 2-1/2" ballast is 13 lbs. per sq.ft.

  - TRAFFIC PROTECTION			***OMIT IF NOT REQUIRED***

    - Install walkway pads at all roof access locations and other designated locations including roof-mounted equipment work locations and areas of repeated rooftop traffic.

    - Walkway rolls can be cut into pads and must be spaced 2" (52 mm) apart to allow for drainage between the pads.

    - Fully adhere walkway pads/rolls to the roof membrane with solvent-based bonding adhesive, applied at the rate of 1 gal. per 100 sq. ft. to both the walkway and roof membrane surfaces. Press walkway in position once adhesive is tacky to the touch.

    - Alternatively, walkway pads/rolls may be heat-welded to the roof membrane surface continuously around the perimeter of the pad/roll.

  - ROOF PROTECTION

    - Protect all partially and fully completed roofing work from other trades until completion.

    - Whenever possible, stage materials in such a manner that foot traffic is minimized over completed roof areas.

    - When it is not possible to stage materials away from locations where partial or complete installation has taken place, temporary walkways and platforms shall be installed in order to protect all completed roof areas from traffic and point loading during the application process.

    - Temporary tie-ins shall be installed at the end of each workday and removed prior to commencement of work the following day.

  - CLEAN-UP

    - All work areas are to be kept clean, clear and free of debris at all times.

    - Do not allow trash, waste, or debris to collect on the roof.  These items shall be removed from the roof on a daily basis.

    - All tools and unused materials must be collected at the end of each workday and stored properly off of the finished roof surface and protected from exposure to the elements.

    - Dispose of or recycle all trash and excess material in a manner conforming to current EPA regulations and local laws.

    - Properly clean the finished roof surface after completion, and make sure the drains and gutters are not clogged.

    - Clean and restore all damaged surfaces to their original condition.

  - MAINTENANCE		***WELL ROOF ADVANTAGE ONLY***

    - Inspections to the roof shall be performed annually by a GAF® Master Select contractor.

    - An annual roofing system maintenance program shall be performed by a  Master Select contractor in accordance with GAF®’s 10 Point Maintenance Program provided with your Diamond Pledge guarantee.

    - Submit copies of the roof inspection form, accompanying photographs (a minimum of 6 photos showing the condition of the roof and critical details), and a record of all roofing system maintenance to the GAF® Contractor Services Department within sixty (60) days of the anniversary date of the completion of the roofing system.  Annual roof inspections must be started within the first two (2) years of the guarantee term.

END OF SECTION