Tremco, Inc. Commercial Sealants and Waterproofing

Section 07 92 00 JOINT SEALANTS

Specifier:  This section includes sealants for interior and exterior, vertical, horizontal, and traffic-bearing joint applications. The section utilizes a joint sealant schedule at the end of Part 3 to specify the type of sealant used for each joint; Edit the joint sealant schedule first. Then edit Part 2 to include the description of each sealant product used in the schedule. For limited scope projects, the joint sealant schedule may be omitted and application notes added to the selected sealants in Part 2.

This section is readily edited utilizing several common commercial specification software tools.

For extensive glazing sealant or paving joint sealant requirements, utilize those special application sections in lieu of the more limited requirements in this section.

We recommend you consult with your Tremco construction technical representative, who can be contacted through: Tremco, Inc., Commercial Sealants and Waterproofing Division, Beachwood OH; (866) 321-6357); email: techresources@tremcoinc.com;  www.tremcosealants.com.

Tremco joint sealant products appear in the following CSI MasterFormat specifications sections:

• Section 07 01 91 Joint Sealant Rehabilitation and Replacement
• Section 07 92 00 Joint Sealants
• Section 08 85 00 Glazing Sealants
• Section 32 13 73 Concrete Paving Joint Sealants

This document is Copyright© 2013 by Tremco, Inc.

SECTION 07 92 00 - JOINT SEALANTS

- GENERAL

      - SUMMARY

        - Section Includes:

Specifier: Edit list below after editing Joint Sealant Schedule and Part 2 of this section.

          - Silicone joint sealants.

          - Urethane joint sealants.

          - Latex joint sealants.

          - Solvent-release-curing joint sealants.

          - Acoustical joint sealants.

          - Preformed seals.

      - RELATED REQUIREMENTS

Specifier: If retaining this optional Related Requirements Article, edit to include only those sections included in project manual.

          - Division 01 Section "Sustainable Design Requirements" for additional requirements, including [LEED] documentation requirements.

          - Section 04 20 00 "Unit Masonry" for masonry control and expansion joint fillers and gaskets and for compatibility with flexible flashing components.

          - Section 04 21 13 "Brick Masonry" for masonry control and expansion joint fillers and gaskets and for compatibility with flexible flashing components.

          - Section 07 01 91 "Joint Sealant Rehabilitation and Replacement" for rehabilitation and replacement of exterior joint sealant applications.

          - Section 07 24 00 "Exterior Insulation and Finish Systems" for joint sealants [and compound system warranty for EIFS and joint sealants] used with EIFS.

          - Division 07 air barrier section for compatibility requirements with air barrier components.

          - Section 07 84 46 "Fire-Resistive Joint Systems" for sealing joints in fire-resistance-rated construction.

          - Section 08 85 00 "Glazing Sealants" for sealants for glazing installation, glazing framing perimeters, and structural glazing.

          - Section 08 80 00 "Glazing" for glazing sealants.

          - Section 08 84 00 "Plastic Glazing" for plastic glazing sealants.

          - Section 08 88 53 "Security Glazing" for security glazing sealants.

          - Section 32 13 73 "Concrete Paving Joint Sealants" for traffic grade joint sealants for concrete paving and parking decks.

      - REFERENCES

Specifier: If retaining this optional References Article, edit to include only those references cited in the edited section.

        - References, General:  Versions of the [following] [cited] standards current as of the date of issue of the project apply to the Work of this Section.

        - ASTM International (ASTM):  www.astm.org:

          - ASTM C 510 - Standard Test Method for Staining and Color Change of Single- or Multicomponent Joint Sealants.

          - ASTM C 661 - Standard Test Method for Indentation Hardness of Elastomeric Type Sealants by Means of a Durometer.

          - ASTM C 719 - Standard Test Method for Adhesion and Cohesion of Elastomeric Joint Sealants Under Cyclic Movement (Hockman Cycle).

          - ASTM C 794 - Test Method for Adhesion-in-Peel of Elastomeric Joint Sealants

          - ASTM C 834 - Specification for Latex Sealants.

          - ASTM C 920 - Specification for Elastomeric Joint Sealants.

          - ASTM C 1087 - Test Method for Determining Compatibility of Liquid-Applied Sealants with Accessories Used in Structural Glazing Systems.

          - ASTM C 1193 - Guide for Use of Joint Sealants.

          - ASTM C 1247 - Standard Test Method for Durability of Sealants Exposed to Continuous Immersion in Liquids.

          - ASTM C 1248 - Test Method for Staining of Porous Substrate by Joint Sealants.

          - ASTM C 1311 - Specification for Solvent Release Sealants.

          - ASTM C 1330 - Cylindrical Sealant Backing for Use with Cold Liquid Applied Sealants.

          - ASTM D 412 - Test Methods for Vulcanized Rubber and Thermoplastic Elastomers—Tension.

          - ASTM D 624 - Test Method for Tear Strength of Conventional Vulcanized Rubber and Thermoplastic Elastomers.

          - ASTM D 2203 - Standard Test Method for Staining from Sealants.

          - ASTM D 2240 - Test Method for Rubber Property - Durometer Hardness.

        - California Department of Public Health:  www.cdph.ca.gov

          - Standard Method for the Testing and Evaluation of Volatile Organic Chemical Emissions from Indoor Sources Using Environmental Chambers.

        - NSF International (NSF):  www.nsf.org:

          - Standard 51 - Food Equipment Materials.

        - Sealant, Waterproofing, and Restoration Institute (SWRI):  www.swrionline.org:

          - SWRI Validation Program.

        - U. S. Environmental Protection Agency (EPA):  www.epa.gov:

          - 40 CFR 59, Subpart D - National Volatile Organic Compound Emission Standards for Architectural Coatings.

        - U.S. Food and Drug Administration (FDA):  www.fda.gov:

          - 21 CFR 177.2600 - Title 21 Part 177 Indirect Food Additives: Polymers.

        - US Green Building Council (USGBC):  www.usgbc.org:

          - Leadership in Energy and Environmental Design (LEED) Green Building Rating System.

      - ADMINISTRATIVE REQUIREMENTS

        - Coordination:  Coordinate installation of joint sealants with cleaning of joint sealant substrates and other operations that may impact installation or finished joint sealant work.

        - Preinstallation Conference:  Conduct conference at Project Site.

      - ACTION SUBMITTALS

        - Product Data:  For each type of joint sealant product specified, including:

          - Preparation instructions and recommendations.

          - Standard drawings illustrating manufacturer's recommended sealant joint profiles and dimensions applicable to Project.

Specifier: Retain "Joint Sealant Schedule" paragraph when scope or complexity of project warrants preparation and review of schedule.

        - Joint Sealant Schedule:  Indicate joint sealant location, joint sealant type, manufacturer and product name, and color, for each application. Utilize joint sealant designations included in this Section.

        - LEED Submittals:

Specifier:  Retain subparagraph below for LEED-NC Credit EQ 4.1 Low-Emitting Materials, applying to materials located inside the building primary weather barrier.

          - LEED NC Credit IEQ 4.1:  Product data for sealant and sealant primers applied inside the weather envelope. Including statement of VOC content.

Specifier: Retain subparagraph below for LEED for Schools Credit EQ 4.1, applying to materials located inside the building primary weather barrier.

          - LEED for Schools Credit EQ 4:  Laboratory test reports for sealants and sealant primers applied inside the weather envelope, documents indicating compliance with California Department of Health Services testing and product requirements "Standard Practice for the Testing of Volatile Organic Emissions from Various Sources Using Small-Scale Environmental Chambers."

        - Samples for Color Selection:  For each joint sealant type.

        - Samples for Verification:  For each exterior joint sealant product, for each color selected.

Specifier: Retain "Joint Sealant Schedule" paragraph for projects with complex sealant requirements.

        - Joint Sealant Schedule:  Include application, location, drawing designation, manufacturer and product name, and selected color.

      - INFORMATIONAL SUBMITTALS

        - Qualification Data:  For qualified applicator.

        - Greenguard Certificates:  For each sealant and accessory product specified to meet volatile organic emissions standards of the Greenguard Children and Schools Certification.

        - Sealant, Waterproofing, and Restoration Institute (SWRI) Validation Certificate:  For each sealant specified to be validated by SWRI's Sealant Validation Program.

        - Warranty:  Sample of unexecuted manufacturer and installer special warranties.

Specifier: Retain test report requirements in three subparagraphs below that are appropriate to the scope and complexity of the project.

        - Preconstruction Compatibility and Adhesion Test Reports:  From manufacturer. Include written interpretation of reports and recommendations for primers and substrate preparation.

        - Preconstruction field-adhesion test reports.

        - Field quality control adhesion test reports.

      - QUALITY ASSURANCE

        - Installer Qualifications:  Company with minimum of three years experience specializing in work of this section, employing applicators trained for application of joint sealants required for this project, with record of successful completion of projects of similar scope, and approved by manufacturer.

        - Single Source Responsibility:  Provide exterior joint sealants by a single manufacturer responsible for testing of Project substrates to verify compatibility and adhesion of joint sealants.

        - Preconstruction Manufacturer Laboratory Compatibility, Staining, and Adhesion Testing:  Submit samples of each substrate or adjacent material that will be in contact with or affect joint sealants. Current manufacturer test data of products on matching substrates will be acceptable.

          - Adhesion:  Use ASTM C 719 and ASTM C 794 to determine requirements for joint preparation, including cleaning and priming.

          - Compatibility:  Use ASTM C 1087 to determine materials forming joints and adjacent materials do not adversely affect sealant materials and do not affect sealant color.

          - Stain Testing:  Use ASTM C 510, ASTM C 1248, or ASTM D 2203 to verify non-staining characteristics of proposed sealants on specified substrates.

Specifier:  Retain "Immersion Adhesion" paragraph when sealant joints are designed for immersion service. Specify the contact liquid when the joints will be exposed to other than potable water.

          - Immersion Adhesion:  Use ASTM C 1247 to determine performance of proposed immersed sealant in contact with [potable water] <insert liquid>.

Specifier:  Retain subparagraph below when project requirements are not complex and manufacturer's previous test results for identical sealant and substrate conditions are acceptable in lieu of more costly project-specific testing.

          - Pre-construction manufacturer laboratory testing is not required when sealant manufacturer can furnish data acceptable to Architect based on previous testing for materials matching those of the Work.

        - Preconstruction Field-Adhesion Testing:  Prior to installing joint sealants, field test adhesion to joint substrates using ASTM C 1193 Method A. Verify adhesion is adequate. Modify joint preparation recommendations for failed joints and re-test. Submit written test report.

        - Mockups:  Provide joint sealant application within mockups required in other sections identical to specified joint sealants and installation methods.

      - DELIVERY, STORAGE AND HANDLING

        - Accept materials on site in manufacturer's unopened original packaging.

        - Store primers and sealants in dry location with ambient temperature range of 60 to 80 deg. F (15 to 27deg. C).

      - ENVIRONMENTAL REQUIREMENTS

        - Do not install primers or sealants when atmospheric temperatures or joint surface temperatures are less than 40 deg. F (4 deg. C).

      - SCHEDULING

        - Schedule work so waterproofing, water repellents and preservative finishes are installed after sealants, unless sealant manufacturer approves otherwise in writing.

        - Ensure sealants are cured before covering with other materials.

      - WARRANTY

Specifier:  Tremco and Dryvit offer a compound warranty for EIFS systems when Tremco Spectrem 1, 3, or 4 silicone sealants are used for Dryvit joints. Independent third party inspection is required for some Dryvit systems as a warranty condition. Coordinate warranty requirements with Section 07 24 00. See www.dryvit.com for Dryvit warranty information.

        - Special Manufacturer's Warranty:  Manufacturer's standard form in which joint sealant manufacturer agrees to furnish joint sealants to repair or replace those that demonstrate deterioration or adhesive or cohesive failure under normal use within warranty period specified.

          - Warranty Period for Silicone Sealants:  [Five] years date of Substantial Completion.

Specifier: Coordinate Installer's warranty provisions with requirements for Contractor's period for correction of work, which is frequently extended from one year to two or more years for components of the exterior weather envelope.

        - Special Installer's Warranty:  Original statement on Installer's letterhead in which Installer agrees to repair or replace joint sealants that demonstrate deterioration or failure within warranty period specified.

          - Warranty Period:  [Two] years from date of Substantial Completion.

- PRODUCTS

      - MANUFACTURERS

Specifier:  Retain option for substitutions below and edit if required for project.

        - Basis-of-Design Products:  Provide joint sealant products manufactured by Tremco, Inc., Commercial Sealants and Waterproofing Division, An RPM Company, Beachwood OH; (866) 321-6357; email: techresources@tremcoinc.com; www.tremcosealants.com, [or comparable products of other manufacturer approved by Architect in accordance with Instructions to Bidders and Division 01 General Requirements].

      - MATERIALS, GENERAL

Specifier:  Paragraph and related subparagraphs below apply to LEED-NC, LEED-CI, and LEED-CS Credit IEQ 4.1. Verify additional limitations on VOCs of authorities having jurisdiction.

        - VOC Content for Interior Applications:  Provide sealants and sealant primers complying with the following VOC content limits per 40 CFR 59, Subpart D (EPA Method 24):

          - Architectural Sealants:  250 g/L.

          - Sealant Primers for Nonporous Substrates:  250 g/L.

          - Sealant Primers for Porous Substrates:  775 g/L.

Specifier: Paragraph and related subparagraphs below apply to LEED for Schools Credit IEQ 4.

        - Low-Emitting Sealants for Interior Applications:  Provide sealants and sealant primers complying with the testing and product requirements of the California Department of Health Services' "Standard Practice for the Testing of Volatile Organic Emissions from Various Sources Using Small-Scale Environmental Chambers."

        - Compatibility:  Provide joint sealants and accessory materials that are compatible with one another, and with adjacent materials, as demonstrated by sealant manufacturer using ASTM C 1087 testing and related experience.

        - Joint Sealant Standard: Comply with ASTM C 920 and other specified requirements for each joint sealant.

        - Stain Test Characteristics: Where sealants are required to be nonstaining, provide sealants tested per ASTM C 1248 as non-staining on porous joint substrates specified.

        - Food Contact Suitability: Where sealants are required to be suitable for contact with food provide sealants complying with 21 CFR 177.2600.

Specifier:  ASTM C 920 Joint Sealant Use Types, Grades, Classes, and Uses that are used in reference specifications below are as follows:

Type S:  Single component

Type M:  Multi-components

Grade P:  Pourable

Grade NS:  Non-sag

Class XX:  Movement capability, percent

Class XX/YY:  Movement capability, percent, expansion/contraction

Exposure Use T:  Traffic

Exposure Use NT:  Non-traffic

Substrate Use G:  Glass

Substrate Use M:  Mortars

Substrate Use A:  Aluminum

Substrate Use O:  Other

      - SILICONE JOINT SEALANTS

Specifier:  Tremco Spectrem 1 is an ultra low-modulus, high-performance, one-part, moisture-curing silicone joint sealant. It has exceptional physical properties, making it an ideal sealant for sealing the most demanding dynamically moving joints. This includes material having a high coefficient of linear expansion such as aluminum curtain walls, precast concrete panels, metal panels and window perimeters. Spectrem 1 is formulated for expansion, control, lap joints, and EIFS applications. It is compatible with Tremco Exo air barrier products.

        - Single-Component, Nonsag, Non-Staining, Moisture-Curing Silicone Joint Sealant [SJS#__]:  ASTM C 920, Type S, Grade NS, Class 100/50, Use NT; SWRI validated.

          - Basis of Design Product:  Tremco, Inc., Spectrem 1.

          - Volatile Organic Compound (VOC) Content:  1 g/L maximum.

          - Volatile Organic Emissions (VOE):  Not greater than Greenguard Children & Schools Certification emissions levels.

          - Staining, ASTM C 1248:  None on concrete, marble, granite, limestone, and brick.

          - Color:  As selected by Architect from manufacturer's standard line of not less than 12 colors.

Specifier: Tremco Spectrem 2 is a medium-modulus, one-part, high-performance, neutral-cure silicone sealant ideal for a variety of perimeter caulking and glazing applications. Its basic uses include: two-sided structural glazing; perimeter and weather seals; cap, heel and toe beads; curtain wall and window joints. Spectrem 2 may be used on aluminum, glass, steel, painted metal, plastic, stone, concrete and brick. It exhibits primerless adhesion to many common building materials.

        - Single-Component, Nonsag, Non-Staining, Neutral-Curing Silicone Joint Sealant [SJS#__]:  ASTM C 920, Type S, Grade NS, Class 50, Use NT; SWRI validated.

          - Basis of Design Product:  Tremco, Inc., Spectrem 2.

          - Volatile Organic Compound (VOC) Content:  50 g/L maximum.

          - Volatile Organic Emissions (VOE):  Not greater than Greenguard Children & Schools Certification emissions levels.

          - Staining, ASTM C 1248:  None on concrete, marble, granite, limestone, and brick.

          - Color:  As selected by Architect from manufacturer's standard line of not less than 10 colors.

Specifier: Tremco Spectrem 3 is a general-purpose, low-modulus, high performance, one-part, neutral-cure, non-staining, low dirt pickup, construction-grade silicone sealant. Spectrem 3’s patented chemistry has been specifically formulated to seal porous stone, EIFS, metal panels, masonry  and pre-cast concrete joints. Its features include: low polar attraction to dirt; extremely low stain potential; low-modulus and low Shore A hardness; primerless adhesion to most porous substrates; extended tooling time and workability in high temperatures;  low-VOC, zero solvent content; and matte finish.

        - Single-Component, Nonsag, Non-Staining, Neutral-Curing Silicone Joint Sealant [SJS#__]:  ASTM C 920, Type S, Grade NS, Class 50, Use NT.

          - Basis of Design Product:  Tremco, Inc., Spectrem 3.

          - Volatile Organic Compound (VOC) Content:  20 g/L maximum.

          - Volatile Organic Emissions (VOE):  Not greater than Greenguard Children & Schools Certification emissions levels.

          - Staining, ASTM C 1248:  None on concrete, marble, granite, limestone, and brick.

          - Color:  As selected by Architect from manufacturer's standard line of not less than 15 colors.

Specifier: Tremco Spectrem 4-TS is a multi-component, neutral-curing, nonstaining, low dirt pick up, low-modulus silicone sealant  specially formulated for use in dynamically moving building  joints with +/- 50 percent movement. Spectrem 4-TS offers excellent performance in moving joints. Spectrem 4-TS is the only silicone available offering color flexibility, with the opportunity to tint the material on site. Spectrem 4-TS does not require a primer on most construction materials and exhibits tenacious adhesion once fully cured. Typical applications for Spectrem 4-TS include: EIFS, expansion and control joints, tilt-up panel joints, precast concrete panel joints, and perimeter caulking (windows, door, panels).

        - Multi-Component, Nonsag, Non-Staining, Field-Tintable Neutral-Curing Silicone Joint Sealant [SJS#__]:  ASTM C 920, Type M, Grade NS, Class 50, Use NT.

          - Basis of Design Product:  Tremco, Inc., Spectrem 4-TS.

          - Volatile Organic Compound (VOC) Content:  20 g/L maximum.

          - Volatile Organic Emissions (VOE):  Not greater than Greenguard Children & Schools Certification emissions levels.

          - Staining, ASTM C 1248:  None on concrete, marble, granite, limestone, and brick.

          - Color:  [Match Architect's custom color] [As selected by Architect from manufacturer's standard line of not less than 70 colors].

Specifier: Tremco Tremsil 200 is a one-part, acetoxy silicone sealant for general construction use. Tremsil 200 cures to a flexible rubber when exposed to moisture present in the air. It produces a weathertight seal to glass, metal, porcelain, ceramic and most painted surfaces. White (with fungicide) and Clear (available with or without fungicide) colors are suitable for use where sanitary joints need added protection against fungi and bacteria.

        - Mildew-Resistant, Single-Component, Acid-Curing Silicone Joint Sealant [SJS#__]: ASTM C 920, Type S, Grade NS, Class 25, Use NT.

          - Basis of Design Product:  Tremco, Inc., Tremsil 200 Sanitary.

          - Volatile Organic Compound (VOC) Content:  1 g/L maximum.

          - Volatile Organic Emissions (VOE):  Not greater than Greenguard Children & Schools Certification emissions levels.

          - Color:  [White] [and] [Clear].

      - URETHANE JOINT SEALANTS

Specifier:  Dymonic 100 High Performance, High Movement Polyurethane Sealant is a high performance, medium-modulus, low-VOC, UV-stable, non-sag polyurethane sealant. Dymonic 100 has the unique ability to adhere to damp and green concrete. It has a movement capability of +100/-50 percent, is paintable and will not crack, craze or yellow under extreme UV exposure. It is also jet fuel resistant. Basic uses include expansion and control joints; precast concrete panel joints; perimeter caulking (windows, door, panels); aluminum,masonry and vinyl siding. Dymonic 100 is compatible with Tremco's line of Vulkem deck coatings, ExoAir barrier products and TREMproof line of cold, fluid-applied waterproofing products. It is approved for incidental food contact.

        - Single-Component, Nonsag, Moisture-Cure, Polyurethane Joint Sealant [UJS#__]: ASTM C 920, Type S, Grade NS, Class 50, Use NT; Greenguard certified.

          - Basis of Design Product:  Tremco, Inc., Dymonic 100.

          - Volatile Organic Compound (VOC) Content:  40 g/L maximum.

          - Volatile Organic Emissions (VOE):  Not greater than Greenguard Children & Schools Certification emissions levels.

          - Tensile Strength ASTM D412: 350 to 450 psi

          - Percent Elongation ASTM D412: 800 to 900%

          - Modulus at 100% ASTM D412: 75 to 85 psi

          - Tear Strength ASTM D412: 65 to 75 psi

          - Smoke Development ASTM E84: 5

          - Color:  As selected by Architect from manufacturer's standard line of not less than 20 colors.

Specifier:  Tremco Dymonic FC is a low-modulus, one-component, moisture-cure, polyurethane hybrid sealant. Dymonic FC is formulated with proprietary silane end-capped polymer technology. It provides the best performance characteristics of polyurethane and silicone sealants. It is a durable, flexible, sealant that offers excellent performance in moving joints and exhibits tenacious adhesion once fully cured. Typical applications for Dymonic FC include: expansion and control joints, precast concrete panel joints, perimeter caulking (windows, door, panels), EIFS, aluminum, masonry and vinyl siding. Dymonic FC is fast curing with a skin time of 60 minutes and a tack-free time of 3-4 hours to significantly reduce dirt pickup. It will not green crack due to early movement and has an exceptional movement capability of ± 35 percent. Dymonic FC is also low-VOC, paintable and will not crack or craze under UV exposure.

        - Single-Component, Nonsag, Moisture-Cure, Polyurethane Hybrid Joint Sealant [UJS#__]: ASTM C 920, Type S, Grade NS, Class 35, Use NT; Greenguard certified.

          - Basis of Design Product:  Tremco, Inc., Dymonic FC.

          - Extrusion Rate ASTM C1183: 93.1 mL/min

          - Weight Loss ASTM C1246: Pass

          - Tack Free Time ASTM C679: 3 to 4 hr

          - Volatile Organic Compound (VOC) Content:  10 g/L maximum.

          - Volatile Organic Emissions (VOE):  Not greater than Greenguard Children & Schools Certification emissions levels.

          - Color:  As selected by Architect from manufacturer's standard line of not less than 15 colors.

Specifier: Tremco Vulkem 116 is a one-part, moisture-curing, gun-grade polyurethane sealant. It is durable, flexible, and offers excellent performance in dynamic joints. Vulkem 116 is an excellent general-purpose sealant designed for use on poured and precast concrete, masonry work, window and door perimeters, and similar types of construction joints. Vulkem 116 has a 30-year history of delivering superior primerless adhesion to porous substrates, which makes it the choice for sealing expansion joints in commercial construction applications. It is also suitable for certain water immersion applications and is rated for 25 percent movement capability. Vulkem 116 is approved for exterior use only.

        - Single-Component, Nonsag, Polyurethane Joint Sealant [UJS#__]: ASTM C920, Type S, Grade NS, Class 25, Use NT.

          - Basis of Design Product:  Tremco, Inc., Vulkem 116.

          - Volatile Organic Compound (VOC) Content:  60 g/L maximum.

          - Color:  As selected by Architect from manufacturer's standard line of not less than 15 colors.

Specifier:  Tremco Vulkem 45 SSL is a one-part, moisture-curing, low-modulus polyurethane sealant. It provides exceptional wear and tear resistance required in high traffic areas. Vulkem 45 SSL is a traffic rated, pourable, semi-self-leveling sealant with exceptional primerless adhesion and movement capability. It is suitable for continuous immersion in non-chlorinated water and can be applied to damp and green concrete. The technology in Vulkem 45 SSL provides the sealant with greater UV resistance and will not out-gas. Vulkem 45 SSL is formulated for use in expansion joints in sidewalks, swimming pool decks, plazas, floors and any other horizontal surface with slopes up to 6 percent (e.g. 1 in. rise for every 16 in. run).

        - Immersible, Single-Component, Pourable, Traffic Grade Polyurethane Joint Sealant [UJS#__]:  ASTM C 920, Type S, Grade P, Class 50, Use T and I.

          - Basis of Design Product:  Tremco, Inc., Vulkem 45 SSL.

          - Volatile Organic Compound (VOC) Content:  110 g/L maximum.

          - Volatile Organic Emissions (VOE):  Not greater than Greenguard Children & Schools Certification emissions levels.

          - Color:  As selected by Architect from manufacturer's standard line of not less than 5 colors.

Specifier: Tremco Vulkem 445SSL is a two-part, moisture-curing, low-modulus polyurethane sealant with a tintable base and an array of 70 standard colors. It provides exceptional wear and tear resistance required in high traffic areas. Vulkem 445 SSL is a traffic rated, pourable, semi-self-leveling sealant with exceptional primerless adhesion and movement capability. It is suitable for continuous immersion in non-chlorinated water and can be applied to damp and green concrete. The technology in Vulkem 445 SSL provides the sealant with greater UV resistance and will not out-gas. Vulkem 445 SSL is formulated for use in expansion joints in sidewalks, swimming pool decks, plazas, floors and any other horizontal surface with slopes up to 6 percent (e.g. 1 in. rise for every 16 in. run).

        - Immersible, Multi-Component, Pourable, Traffic-Grade Polyurethane Joint Sealant [UJS#__]:  ASTM C 920, Type M, Grade P, Class 35, Use T, O, and I.

          - Basis of Design Product: Tremco, Inc., Vulkem 445SSL.

          - Tensile Strength, ASTM D 412:  250 psi (1.7 MPa), at 100 percent elongation.

          - Tear Strength, ASTM D 412:  35 pli (6.1 kN/m).

          - Adhesion to Concrete, After Water, ASTM C 794:  28 pli (4.4 kN/m)

          - Hardness, ASTM C 661:  40 durometer Shore A, minimum.

          - Accelerated Weathering, ASTM C 793:  Pass.

          - Volatile Organic Compound (VOC) Content: 106 g/L maximum.

          - Color:  As selected by Architect from manufacturer's standard line of 70 colors

Specifier:  Tremco Dymeric 240 FC is a gun grade, multi-component, chemically curing, epoxidized polyurethane sealant that includes a tintable base, curative packet, and a choice of 70 standard colors; a Limestone pretinted version is available. Dymeric 240FC is an all around general-purpose sealant that provides flexible, long life and durable waterproofing for both new construction and restoration projects in a fast curing formulation. Applications range from pre-cast tilt-up concrete, masonry, and exterior insulating and finishing systems (EIFS), to metal curtain walls, and perimeter joints around doors and windows. Suitable for immersed use in non-chlorinated fountains and water features.

        - Multi-Component, Non-sag, Polyurethane Joint Sealant [UJS#__]:  ASTM C 920, Type M, Grade NS, Class 50, Use I.

          - Basis of Design Product:  Tremco, Inc., Dymeric 240 FC.

          - Volatile Organic Compound (VOC) Content:  0 g/L maximum.

          - Volatile Organic Emissions (VOE):  Not greater than Greenguard Children & Schools Certification emissions levels.

          - Color:  [Match Architect's custom color] [As selected by Architect from manufacturer's standard line of not less than 70 colors].

      - LATEX JOINT SEALANTS

Specifier:  Tremco Tremflex 834 is a pure acrylic latex sealant formulated to provide a fast-setting pliable seal with minimal shrinkage. Tremflex 834 can be used for general purpose interior and exterior caulking. It is also highly recommended as an acoustical seal in the construction of interior walls, ceilings and floors.

        - Latex Joint Sealant [LJS#___]:  Siliconized acrylic latex, ASTM C 834, Type OP, Grade NF.

          - Basis of Design Product:  Tremco, Inc., Tremflex 834.

          - Volatile Organic Compound (VOC) Content:  35 g/L maximum.

          - Volatile Organic Emissions (VOE):  Not greater than Greenguard Children & Schools Certification emissions levels.

          - Color:  White, paintable.

      - SOLVENT-RELEASE-CURING JOINT SEALANTS

Specifier:  Tremco Butyl Sealant is formulated from a blend of butyl rubber and polyisobutylene to form an economical, flexible sealant. Tremco Butyl Sealant is used for sealing joints in applications such as curtainwall joints, metal panel joining, bedding thresholds, secondary glazing seals, and areas where a seal is required against Tremco Neoprene or EPDM gaskets. It features excellent primerless adhesion to most common substrates such as wood, metal, glass, concrete, and masonry surfaces; up to 10 percent movement capability; good, flexible exterior grade, weather resistant caulk performance. Butyl sealant is frequently specified for interior and exterior concealed joints within metal assemblies.

        - Butyl-Rubber-Based Joint Sealant [BJS#___]:  ASTM C 1311.

          - Basis of Design Product:  Tremco, Inc., Tremco Butyl Sealant.

          - Volatile Organic Compound (VOC) Content:  250 g/L maximum.

          - Color:  As selected by Architect from manufacturer's standard colors.

      - ACOUSTICAL SEALANTS

Specifier: Tremco Acoustical/Curtainwall Sealant is a single component, non-skinning, non-hardening synthetic rubber sealant. Tremco Acoustical Sealant was developed for acoustical sealing of drywall partitions, corridors and party walls. It may be used as a lap joint and perimeter sealant for polyethylene vapor barriers over fiber glass batt or other insulations and in contact with polystyrene. The application of Tremco Acoustical Sealant greatly increases the Sound Transmission Class (STC value) of a system and reduces the decibel level when one or more beads are applied to a joint.

        - Acoustical/Curtainwall Sealant [AJS#___]:  Single-component, non-hardening, non-sag, paintable synthetic rubber-tested to reduce airborne sound transmission through perimeter joints and openings in building construction as demonstrated by testing of similar assemblies according to ASTM E 90.

          - Basis of Design Product:  Tremco, Inc., Tremco Acoustical/Curtainwall Sealant.

          - Volatile Organic Compound (VOC) Content:  160 g/L maximum.

          - Color:  White, paintable.

      - PRE-FORMED SEALS

Specifier: Spectrem Simple Seal is an ultra-low modulus preformed silicone tape extrusion specifically designed to have high elongation properties that can be bonded to a wide range of substrates with Tremco Spectrem 1 or Spectrem 2 to provide a waterproof seal. Spectrem Simple Seal is designed for both new construction and restoration work involving window perimeter and EIFS joints, parapet walls, skylights, aluminum window seals, transition seals, curtain wall joints, sheet metal roof joints, and other lap joints

        - Preformed Silicone Joint Seals [PS#1]:  Manufacturer's standard seal consisting of precured low-modulus silicone extrusion, in sizes to fit applications indicated on Drawings, combined with a neutral-curing liquid silicone sealant for bonding seals to substrates.

          - Basis of Design Product:  Tremco, Inc.; Spectrem SimpleSeal.

Specifier: Tremco illmod 600 is a pre-compressed, self-expanding, flexible joint seal that is designed to protect against wind-driven rain, sound, draft and dust. It is comprised of polyurethane foam with a flame-retardant, modified acrylic resin and treated with a pressure-sensitive adhesive on one side for easy installation. After positioning, the material self-expands to fill the void and create a permanently elastic, weathertight seal. illmod 600 is used as an exterior or interior joint sealant in applications above grade. It can be used as a primary seal in vertical and a secondary seal in horizontal applications. illmod 600 is acceptable for use in joints in pre-cast and tilt-up concrete, masonry, metal roofing panels, and EIFS.

        - Preformed Foam Joint Seals [PS#2]:  Manufacturer's standard preformed, pre-compressed, open-cell foam seal manufactured from urethane foam with minimum density of 10 lb/cu. ft. (160 kg/cu. m), impregnated with water-repellent agent. Provide factory-produced pre-compressed sizes selected to fit joint widths; coated on one side with a pressure-sensitive adhesive.

          - Basis of Design Product:  Tremco, illmod 600.

          - Thermal conductivity ASTM C 518: .28-0.30 BTU-in/hr-°F-ft2

          - Thermal resistance ASTM C 518: 3.3-3.6 hr-°F-ft2/BTU

          - Frame spread ASTM E84: 0

          - Smoke development ASTM E84: 5

          - Volatile Organic Compound (VOC) Content:  0 g/L maximum.

          - Volatile Organic Emissions (VOE):  Not greater than Greenguard Children & Schools Certification emissions levels.

          - Color:  Black or Grey.

      - JOINT SEALANT ACCESSORIES

        - Cylindrical Sealant Backing:  ASTM C 1330, Type B non-absorbent, bi-cellular material with surface skin, or Type O open-cell polyurethane, as recommended by sealant manufacturer for application.

        - Bond Breaker Tape:  Polymer tape compatible with joint sealant and adjacent materials and recommended by sealant manufacturer.

        - Joint Substrate Primers:  Substrate primer recommended by sealant manufacturer for application.

        - Cleaners:  Chemical cleaners acceptable to joint sealant manufacturer.

        - Masking tape:  Non-staining, non-absorbent tape product compatible with joint sealants and adjacent joint surfaces.

- EXECUTION

      - EXAMINATION

        - Examine joint profiles and surfaces to determine if work is ready to receive joint sealants. Verify joint dimensions are adequate for development of sealant movement capability. Verify joint surfaces are clean, dry, and adequately cured. Proceed with joint sealant work once conditions meet sealant manufacturer's written recommendations.

      - PREPARATION

        - Joint Surface Cleaning:  Clean joints prior to installing joint sealants using materials and methods recommended by sealant manufacturer. Comply with ASTM C 1193.

          - Remove curing compounds, laitance, form-release agents, dust, and other contaminants.

          - Clean nonporous and porous surfaces utilizing chemical cleaners acceptable to sealant manufacturer.

          - Protect elements surrounding the Work of this section from damage or disfiguration. Apply masking tape to adjacent surfaces when required to prevent damage to finishes from sealant installation.

      - SEALANT APPLICATION

        - Sealant and Primer Installation Standard: Comply with ASTM C 1193 and manufacturer's written instructions.

        - Joint Backing:  Select joint backing materials recommended by sealant manufacturer as  compatible with sealant and adjacent materials. Install backing material at depth required to produce profile of joint sealant allowing optimal sealant movement.

Specifier:  Joints must be sized and detailed to allow for the recommended width/depth ratio of the sealed joint based on anticipated joint movement and construction tolerances. Design joint to minimum of 4 times anticipated movement to accommodate construction tolerances and expected movement based on coefficient of thermal expansion.

          - Install joint backing to maintain the following joint ratios:

            - Joints up to 1/2 inch (13 mm) wide:  1:1 width to depth ratio.

            - Joints greater than 1/2 inch (13 mm) wide:  2:1 width to depth ratio; maximum 1/2 inch (13 mm) joint depth.

          - Install bond breaker tape over substrates when sealant backings are not used.

        - Masking:  Mask adjacent surfaces to prevent staining or damage by contact with sealant or primer.

        - Joint Priming:  Prime joint substrates when recommended by sealant manufacturer or when indicated by preconstruction testing or experience. Apply recommended primer using sealant manufacturer's recommended application techniques.

        - Liquid Sealant Application:  Install sealants using methods recommended by sealant manufacturer, in depths recommended for application. Apply in continuous operation from bottom to top of joint vertically and horizontally in a single direction. Apply using adequate pressure to fill and seal joint width.

          - Tool sealants immediately with appropriately shaped tool to force sealants against joint backing and joint substrates, eliminating voids and ensuring full contact.

          - Install sealant free of air pockets, foreign embedded matter, ridges, and sags.

          - Tool exposed joint surface concave using tooling agents approved by sealant manufacturer for application.

        - Cleaning:  Remove excess sealant using materials and methods approved by sealant manufacturer that will not damage joint substrate materials.

          - Remove masking tape immediately after tooling joint without disturbing seal.

          - Remove excess sealant from surfaces while still uncured.

        - Installation of Acoustical Sealant:  At sound-rated assemblies and elsewhere as indicated, seal construction at perimeters, behind control joints, and at openings and penetrations on both sides of assemblies with a continuous bead of acoustical sealant. Comply with ASTM C 919 and with manufacturer's written recommendations.

        - Installation of Preformed Seals:  Install seals immediately after removing protective wrapping. Do not stretch or misshape material. Place seals to provide continuity at ends, turns, and intersections. Apply heat to sealant when recommended by sealant manufacturer's written instructions.

      - FIELD QUALITY CONTROL

        - Field-Adhesion Testing: Perform adhesion tests in accordance with manufacturer’s instructions and with ASTM C 1193, Method A.

          - Perform [5] tests for the first [1000 feet (300 m)] of joint length for each kind of sealant and joint substrate, and one test for each [1000 feet (300 m)] of joint length thereafter or 1 test per each floor per building elevation, minimum.

          - For sealant applied between dissimilar materials, test both sides of joint.

        - Remove sealants failing adhesion test, clean substrates, reapply sealants, and re-test. Test adjacent sealants to failed sealants.

        - Submit report of field adhesion testing to Architect indicating tests, locations, dates, results, and remedial actions taken.

Specifier: Edit sealant schedules below to reflect Project requirements. Delete construction items not required for Project. Identify joint sealant products by description and by identifier used in Part 2 once edited. Coordinate color requirements; certain Tremco Sealants can be custom matched for particular color requirements, while others are available in an array of standard colors only.

      - EXTERIOR JOINT-SEALANT SCHEDULE

        - Exterior concealed transition joints in air barrier.

Specifier:  Recommended products compatible with Tremco Exo products are Tremco Spectrem 1 and Dymonic 100.

          - Joint Sealant:  Single-component neutral-curing low-modulus silicone sealant [SJS#__].

          - Joint Sealant:  Single-component non-sag urethane sealant [UJS#__].

          - Compatibility:  Compatible with air barrier components specified in Division 07 air barrier section.

        - Exterior construction joints in [cast-in-place] [and] [tilt-up] concrete.

Specifier:  Recommended products are Spectrem 1, Spectrem 2, and Spectrem 4-TS, or Dymonic 100, Dymonic FC, and Vulkem 116.

          - Joint Sealant:  Single-component neutral-curing non-staining silicone sealant [SJS#__].

          - Joint Sealant: Multi-component neutral-curing non-staining field tintable silicone sealant [SJS#__].

          - Joint Sealant:  Single-component non-sag urethane sealant [UJS#__].

          - Joint-Sealant Color:  [As selected by Architect from manufacturer's standard colors] [Approved custom match to substrate sample].

        - Exterior movement joints in concrete unit masonry.

Specifier:  Recommended products are Spectrem 1, Spectrem 2 and Spectrem 4-TS, or Dymonic 100, Dymonic FC, and Vulkem 116.

          - Joint Sealant:  Single-component neutral-curing non-staining silicone sealant [SJS#__].

          - Joint Sealant:  Multi-component neutral-curing non-staining field tintable silicone sealant [SJS#__].

          - Joint Sealant:  Single-component non-sag urethane sealant [UJS#__].

          - Joint-Sealant Color:  [As selected by Architect from manufacturer's standard colors] [Approved custom match to substrate sample].

        - Exterior movement joints in brick masonry.

Specifier:  Recommended products are Spectrem 1, Spectrem 2, and Spectrem 4-TS, or Dymonic 100, Dymonic FC, and Vulkem 116.

          - Joint Sealant:  Single-component neutral-curing non-staining silicone sealant [SJS#__].

          - Joint Sealant:  Multi-component neutral-curing non-staining field tintable silicone sealant [SJS#__].

          - Joint Sealant:  Single-component non-sag urethane sealant [UJS#__].

          - Joint-Sealant Color, Vertical Joints:  [As selected by Architect from manufacturer's standard colors] [Approved custom match to brick at vertical joints].

          - Joint-Sealant  Color, Horizontal Joints: [As selected by Architect from manufacturer's full range] [Approved custom match to mortar at horizontal joints].

        - Exterior movement joints in stone masonry.

Specifier:  Recommended products are Spectrem 1 and Spectrem 2, or Dymonic 100, Dymonic FC, and Vulkem 116.

          - Joint Sealant:  Single-component neutral-curing non-staining silicone sealant [SJS#__].

          - Joint Sealant:  Single-component non-sag urethane sealant [UJS#__].

          - Joint-Sealant Color:  [As selected by Architect from manufacturer's standard colors] [Approved custom match to mortar].

        - Exterior joints within exterior insulation finish systems (EIFS).

Specifier:  Recommended products are Spectrem 1, Spectrem 3, and Spectrem 4-TS, or Dymonic FC, or Dymeric 240FC.

          - Joint Sealant:  Single-component neutral-curing non-staining silicone sealant [SJS#__].

          - Joint Sealant:  Multi-component neutral-curing non-staining field tintable silicone sealant [SJS#__].

          - Joint Sealant:  Single-component non-sag urethane sealant [UJS#__].

          - Joint-Sealant Color:  [As selected by Architect from manufacturer's standard colors] [Approved custom match to EIFS colors].

        - Exterior exposed joints in metal panel cladding systems.

Specifier:  Recommended products are Spectrem 1 and Spectrem 4-TS.

          - Joint Sealant:  Single-component neutral-curing non-staining silicone sealant [SJS#__].

          - Joint Sealant:  Multi-component neutral-curing non-staining field tintable silicone sealant [SJS#__].

          - Joint-Sealant Color:  [As selected by Architect from manufacturer's standard colors] [Approved custom match to substrate sample].

        - Exterior concealed watertight joints in cladding systems.

Specifier:  Recommended products are Spectrem 1 or Dymonic 100 and Dymonic FC.

          - Joint Sealant:  Single-component neutral-curing silicone sealant [SJS#__].

          - Joint Sealant:  Single-component non-sag urethane sealant [UJS#__].

        - Exterior joints between different materials listed above.

Specifier:  Recommended products are Spectrem 1, Spectrem 2, and Spectrem 4-TS or Dymonic 100 and Dymonic FC.

          - Joint Sealant:  Single-component neutral-curing non-staining silicone sealant [SJS#__].

          - Joint Sealant:  Multi-component neutral-curing non-staining field tintable silicone sealant [SJS#__].

          - Joint Sealant:  Single-component non-sag urethane sealant [UJS#__].

          - Joint-Sealant Color:  [As selected by Architect from manufacturer's standard colors] [Approved custom match to substrate sample] [Multiple colors required to match several conditions].

        - Exterior perimeter joints at frames of doors, windows, storefront frames, curtain wall frames, and louvers.

Specifier:  Recommended products are Spectrem 1, Spectrem 2, and Spectrem 4-TS or Dymonic 100 and Dymonic FC.

          - Joint Sealant:  Single-component neutral-curing non-staining silicone sealant [SJS#__].

          - Joint Sealant:  Multi-component neutral-curing non-staining field tintable silicone sealant [SJS#__].

          - Joint Sealant:  Single-component non-sag urethane sealant [UJS#__].

          - Joint-Sealant Color:  [As selected by Architect from manufacturer's standard colors] [Approved custom match to substrate sample] [Multiple colors required to match several conditions].

        - Exterior joints within aluminum storefront framing, curtain walls, and window systems:

Specifier:  Recommended products are Spectrem 1 or Spectrem 2.

          - Joint Sealant:  Single-component neutral-curing non-staining silicone sealant [SJS#__].

          - Joint-Sealant Color:  As selected by Architect from manufacturer's standard colors.

Specifier:  Retain paragraph below if glazing sealants are specified in Division 08 Section "Glazing Sealants."

        - Exterior joints within structural glazing, aluminum storefront framing, curtain walls, and window systems: Refer to Division 08 Section ["Glazing Sealants"] ["Structural-Sealant-Glazed Curtain Walls"].

        - All other exterior non-traffic joints.

Specifier:  Recommended products are Spectrem 1, Spectrem 2, and Spectrem 4-TS or Dymonic 100 and Dymonic FC.

          - Joint Sealant:  Single-component neutral-curing non-staining silicone sealant [SJS#__].

          - Joint Sealant:  Multi-component neutral-curing non-staining field tintable silicone sealant [SJS#__].

          - Joint Sealant:  Single-component non-sag urethane sealant [UJS#__].

          - Joint-Sealant Color:  [As selected by Architect from manufacturer's standard colors] [Approved custom match to substrate sample] [Multiple colors required to match several conditions].

        - Exterior horizontal traffic and traffic isolation joints[: Refer to Division 32 Section "Concrete Paving Joint Sealants"].

Specifier:  Recommended products is Vulkem 45 SSL and Vulkem 445SSL

          - Joint Sealant:  Single-component pourable urethane sealant [UJS#__].

          - Joint-Sealant Color:  As selected by Architect from manufacturer's standard colors.

      - INTERIOR JOINT-SEALANT SCHEDULE

        - Interior vertical movement joints in exterior concrete and unit masonry.

Specifier:  Recommended product is Tremco Dymonic FC or Dymonic 100.

          - Joint Sealant:  Single-component non-sag urethane sealant[, Greenguard certified] [UJS#__].

          - Joint-Sealant Color:  As selected by Architect from manufacturer's full range.

        - Interior movement joints in interior unit masonry.

Specifier:  Recommended product is Tremco Dymonic FC or Dymonic 100.

          - Joint Sealant:  Single-component non-sag urethane sealant[, Greenguard certified] [UJS#__].

          - Joint-Sealant Color:  As selected by Architect from manufacturer's full range.

        - Interior perimeter joints of exterior aluminum frames.

Specifier:  Recommended product is Tremco Dymonic FC.

          - Joint Sealant: Single-component non-sag urethane sealant[, Greenguard certified] [UJS#__].

          - Joint-Sealant Color:  As selected by Architect from manufacturer's full range.

        - Interior perimeter joints of interior frames.

Specifier:  Recommended product is Tremco Dymonic FC or Tremflex 834.

          - Joint Sealant:  Single-component non-sag urethane sealant[, Greenguard certified] [LJS#__].

          - Joint Sealant:  Siliconized acrylic latex[, Greenguard certified] [UJS#__]

          - Joint-Sealant Color: [As selected by Architect from manufacturer's full range] [Multiple colors required] [Paintable].

        - Interior sanitary joints between plumbing fixtures, food preparation fixtures, and casework and adjacent walls, floors, and counters.

Specifier:  Recommended product is Tremsil 200 Sanitary.

          - Joint Sealant:  Mildew-Resistant, Single-Component, nonsag, acid-curing silicone joint sealant[, Greenguard certified] [SJS#__].

          - Joint-Sealant Color:  As selected by Architect from manufacturer's full range; multiple colors required.

        - Interior traffic joints in floor and between floor and wall construction.

Specifier:  Recommended product is Vulkem 45 SSL or Vulkem 445 SSL.

          - Joint Sealant:  Single-component pourable urethane sealant[, Greenguard certified] [UJS#__].

          - Joint-Sealant Color:  As selected by Architect from manufacturer's full range.

        - Interior non-moving joints between interior painted surfaces and adjacent materials.

Specifier:  Recommended product is Tremflex 834 and Dymonic 100

          - Joint Sealant:  Siliconized acrylic latex[, Greenguard certified] [UJS#__]

          - Joint-Sealant Color:  Paintable.

        - Interior concealed sealants at thresholds and sills.

Specifier:  Recommended product is Tremco Butyl Sealant. Verify project VOC requirements.

          - Joint Sealant:  Butyl-rubber-based joint sealant[ BJS#1].

        - Interior exposed and non-exposed acoustical applications:

Specifier:  Recommended product is Tremco Acoustical/Curtainwall Sealant.

          - Joint Sealant:  Acoustical joint sealant[AJS#1].

END OF SECTION