Tremco, Inc. Commercial Sealants and Waterproofing

Section 08 85 00 - GLAZING SEALANTS

Specifier:  This section includes sealants for glazing installation including structural glazing applications and glazing framing system internal and perimeter joint sealants.

This section is readily edited utilizing several common commercial specification software tools.

For general joint sealant applications, use Section 079200 JOINT SEALANTS.

We recommend you consult with your Tremco construction technical representative, who can be contacted through: Tremco, Inc., Commercial Sealants and Waterproofing Division, Beachwood OH; (866) 321-6357); email: techresources@tremcoinc.com;  www.tremcosealants.com.

Tremco joint sealant products appear in the following CSI MasterFormat specifications sections:

• Section 07 01 91 Joint Sealant Rehabilitation and Replacement
• Section 07 92 00 Joint Sealants
• Section 08 85 00 Glazing Sealants
• Section 32 13 73 Concrete Paving Joint Sealants

This document is Copyright© 2013 by Tremco, Inc.

SECTION 08 85 00 - GLAZING SEALANTS

- GENERAL

      - SUMMARY

        - Section Includes:

          - Silicone glazing sealants.

          - Structural silicone glazing sealants.

      - RELATED REQUIREMENTS

Specifier: If retaining this optional Related Requirements Article, edit to include only those sections included in project manual.

          - Division 01 Section "Sustainable Design Requirements" for additional requirements, including LEED product and documentation requirements.

          - Section 07 01 91 "Joint Sealant Rehabilitation and Replacement" for renovation of exterior joint sealant applications.

          - Section 07 24 00 "Exterior Insulation and Finish Systems" for joint sealants within EIFS  [and compound system warranty for EIFS and joint sealants] used with EIFS.

          - Division 07 air barrier section for framed opening transition assemblies and for compatibility requirements with air barrier components.

          - Section 07 92 00 "Joint Sealants" for general applications of joint sealants.

          - Section 08 80 00 "Glazing" for glazing sealants used in fabrication of glazing units.

          - Section 08 88 53 "Security Glazing" for glazing sealants used in fabrication of security glazing units.

      - REFERENCES

Specifier: If retaining this optional References Article, edit to include only those references cited in the edited section.

        - References, General:  Versions of the [following] [cited] standards current as of the date of issue of the project apply to the Work of this Section.

        - ASTM International (ASTM): www.astm.org:

          - ASTM C 510 - Standard Test Method for Staining and Color Change of Single- or Multicomponent Joint Sealants.

          - ASTM C 661 - Standard Test Method for Indentation Hardness of Elastomeric Type Sealants by Means of a Durometer.

          - ASTM C 719 - Standard Test Method for Adhesion and Cohesion of Elastomeric Joint Sealants Under Cyclic Movement (Hockman Cycle).

          - ASTM C 794 - Test Method for Adhesion-in-Peel of Elastomeric Joint Sealants

          - ASTM C 920 - Specification for Elastomeric Joint Sealants.

          - ASTM C 1087 - Test Method for Determining Compatibility of Liquid-Applied Sealants with Accessories Used in Structural Glazing Systems.

          - ASTM C 1184 - Standard Specification for Structural Silicone Sealants.

          - ASTM C 1193 - Guide for Use of Joint Sealants.

          - ASTM C 1248 - Test Method for Staining of Porous Substrate by Joint Sealants.

          - ASTM C 1330 - Cylindrical Sealant Backing for Use with Cold Liquid Applied Sealants.

          - ASTM D 412 - Test Methods for Vulcanized Rubber and Thermoplastic Elastomers—Tension.

          - ASTM D 624 - Test Method for Tear Strength of Conventional Vulcanized Rubber and Thermoplastic Elastomers.

          - ASTM D 2203 - Standard Test Method for Staining from Sealants.

        - California Department of Public Health:  www.cdph.ca.gov

          - Standard Method for the Testing and Evaluation of Volatile Organic Chemical Emissions from Indoor Sources Using Environmental Chambers.

        - NSF International (NSF): www.nsf.org:

          - Standard 51 - Food Equipment Materials. ( Dropped in 2204 approx.)

        - Sealant, Waterproofing, and Restoration Institute (SWRI): www.swrionline.org:

          - SWRI Validation Program.

        - Underwriters Laboratories UL Environment:  www.greenguard.org:

          - Greenguard Certification Program.

        - U. S. Environmental Protection Agency (EPA): www.epa.gov:

          - 40 CFR 59, Subpart D - National Volatile Organic Compound Emission Standards for Architectural Coatings.

        - U.S. Food and Drug Administration (FDA): www.fda.gov:

          - 21 CFR 177.2600 - Title 21 Part 177 Indirect Food Additives: Polymers.

        - US Green Building Council (USGBC): www.usgbc.org

          - Leadership in Energy and Environmental Design (LEED) Green Building Rating System.

      - ADMINISTRATIVE REQUIREMENTS

        - Coordination: Coordinate installation of joint sealants with cleaning of joint sealant substrates and other operations that may impact installation or finished joint sealant work.

        - Preinstallation Conference: Conduct conference at Project Site.

      - ACTION SUBMITTALS

        - Product Data: For each type of joint sealant product specified, including:

          - Preparation instructions and recommendations.

          - Standard drawings illustrating manufacturer's recommended sealant joint profiles and dimensions applicable to Project.

Specifier: Retain "Joint Sealant Schedule" paragraph when scope or complexity of project warrants preparation and review of schedule.

        - Joint Sealant Schedule: Indicate joint sealant location, joint sealant type, manufacturer and product name, and color, for each application. Utilize joint sealant designations included in this Section.

        - LEED Submittals:

Specifier: Retain subparagraph below for LEED-NC Credit EQ 4.1 Low-Emitting Materials, applying to materials located inside the building primary weather barrier.

          - LEED NC Credit IEQ 4.1: Product data for sealant and sealant primers applied inside the weather envelope. Including statement of VOC content.

Specifier: Retain subparagraph below for LEED for Schools Credit EQ 4.1, applying to materials located inside the building primary weather barrier.

          - LEED for Schools Credit EQ 4: Laboratory test reports for sealants and sealant primers applied inside the weather envelope, documents indicating compliance with California Department of Health Services testing and product requirements "Standard Practice for the Testing of Volatile Organic Emissions from Various Sources Using Small-Scale Environmental Chambers."

Specifier:  Retain "Structural Sealant Joint Design" paragraph and subparagraph below if project includes structural sealant applications. Edit to reflect responsible entity for structural sealant joint design.

        - Structural Sealant Joint Design: [Submit calculations for structural bite, deadload support, glueline thickness, shear, and other relevant parameters contributing to structural joint sealant design.]  [Submit manufacturer's certificate indicating that drawings, specifications, and design data provided by Architect have been reviewed and are approved as acceptable application of manufacturer’s structural silicone sealant and comply with manufacturer’s warranty requirements.]

          - Shop Drawings:  Show details of proposed structural sealant joints, indicating dimensions, materials, structural bite, glueline thickness, joint profile, and support framing.

        - Samples for Color Selection: For each joint sealant type.

        - Samples for Verification: For each exposed joint sealant product, for each color selected.

      - INFORMATIONAL SUBMITTALS

        - Qualification Data: For manufacturer and qualified applicator.

        - Greenguard Certificates: For each sealant and accessory product specified to meet volatile organic emissions standards of the Greenguard Children and Schools Certification.

        - Sealant, Waterproofing, and Restoration Institute (SWRI) Validation Certificate: For each sealant specified to be validated by SWRI's Sealant Validation Program.

        - Warranty: Sample of unexecuted manufacturer and installer special warranties.

Specifier: Retain test report requirements in three subparagraphs below that are appropriate to the scope and complexity of the project.

        - Preconstruction Compatibility and Adhesion Test Reports:  From manufacturer. Include written interpretation of reports and recommendations for primers and substrate preparation.

        - Preconstruction field-adhesion test reports.

        - Field quality control adhesion test reports.

        - Warranty:  Sample of unexecuted manufacturer and installer special warranties.

      - QUALITY ASSURANCE

        - Manufacturer: Company specializing in manufacturing products specified in this section with minimum ten years documented experience.

        - Installer Qualifications: A firm with minimum [three] years of experience installation of specified products in successful use on similar projects, including a full-time on-site supervisor with a minimum of [three] years of experience installing similar work, able to communicate verbally with a contractor, [architect,] and employees.

        - Single Source Responsibility: Provide glazing sealants by a single manufacturer responsible for testing of Project substrates to verify compatibility and adhesion of joint sealants.

        - Preconstruction Manufacturer Laboratory Compatibility, Staining, and Adhesion Testing: Submit samples of each substrate or adjacent material that will be in contact with or affect joint sealants. Current manufacturer test data of products on matching substrates will be acceptable.

          - Adhesion: Use ASTM C 719 and ASTM C 794 to determine requirements for joint preparation, including cleaning and priming.

          - Compatibility: Use ASTM C 1087 to determine materials forming joints and adjacent materials do not adversely affect sealant materials and do not affect sealant color.

          - Stain Testing: Use ASTM C 510, ASTM C 1248, or ASTM D 2203 to verify non-staining characteristics of proposed sealants on specified substrates.

Specifier: Typically delete "Immersion Adhesion" paragraph below. Retain paragraph when sealant joints are designed for immersion service. Specify the contact liquid when the joints will be exposed to other than potable water.

          - Immersion Adhesion: Use ASTM C 1247 to determine performance of proposed immersed sealant in contact with [potable water] <insert liquid>.

Specifier: Retain subparagraph below when project requirements are not complex or unusual and manufacturer's previous test results for identical sealant and substrate conditions are acceptable in lieu of more costly project-specific testing.

          - Pre-construction manufacturer laboratory testing is not required when sealant manufacturer can furnish data acceptable to Architect based on previous testing for materials matching those of the Work.

        - Preconstruction Field-Adhesion Testing: Prior to installing joint sealants, field test adhesion to joint substrates using ASTM C 1193 Method A. Verify adhesion is adequate. Modify joint preparation recommendations for failed joints and re-test. Submit written test report.

        - Mockups: Provide joint sealant application within mockups required in other sections identical to specified joint sealants and installation methods, installed by Project personnel.

      - DELIVERY, STORAGE AND HANDLING

        - Accept materials on site in manufacturer's unopened original packaging.

        - Store primers and sealants in dry location with ambient temperature range of 60 to 80 deg. F (15 to 27deg. C).

      - ENVIRONMENTAL REQUIREMENTS

        - Do not install primers or sealants when atmospheric temperatures or joint surface temperatures are less than 40 deg. F (4 deg. C).

      - SCHEDULING

        - Schedule work so waterproofing, water repellents, and preservative finishes are installed after sealants, unless sealant manufacturer approves otherwise in writing.

        - Ensure sealants are cured before concealing behind other materials.

      - WARRANTY

Specifier:  Tremco and Dryvit offer a compound warranty for EIFS systems when Tremco Spectrem 1, 3, or 4-TS silicone sealants are used for Dryvit joints. Independent third party inspection is required for some Dryvit systems as a warranty condition. Coordinate warranty requirements with Section 07 24 00. See www.dryvit.com for Dryvit warranty information.

        - Special Manufacturer's Warranty: Manufacturer's standard form in which joint sealant manufacturer agrees to furnish joint sealants to repair or replace those that demonstrate deterioration, adhesive or cohesive failure, or penetration of water under normal use in joint applications approved by manufacturer, within warranty period specified.

          - Warranty Period for Silicone Sealants: [Five] years date of Substantial Completion.

Specifier: Coordinate Installer's warranty provisions with requirements for Contractor's period for correction of work, which is frequently extended from one year to two or more years for components of the exterior weather envelope.

        - Special Installer's Warranty: Original statement on Installer's letterhead in which Installer agrees to repair or replace joint sealants that demonstrate deterioration, adhesive or cohesive failure, or penetration of water within warranty period specified.

          - Warranty Period: [Two] years from date of Substantial Completion.

- PRODUCTS

      - MANUFACTURERS

Specifier: Retain option for substitutions below and edit if required for project.

        - Basis-of-Design Products: Provide joint sealant products manufactured by Tremco, Inc., Commercial Sealants and Waterproofing Division, An RPM Company, Beachwood OH; (866) 321-6357; email: techresources@tremcoinc.com; www.tremcosealants.com, [or comparable products of other manufacturer approved by Architect in accordance with Instructions to Bidders and Division 01 General Requirements].

      - MATERIALS, GENERAL

Specifier: Paragraph and related subparagraphs below apply to LEED-NC, LEED-CI, and LEED-CS Credit IEQ 4.1. Verify additional limitations on VOCs of authorities having jurisdiction.

        - VOC Content for Interior Applications: Provide sealants and sealant primers complying with the following VOC content limits per 40 CFR 59, Subpart D (EPA Method 24):

          - Architectural Sealants: 250 g/L.

          - Sealant Primers for Nonporous Substrates: 250 g/L.

          - Sealant Primers for Porous Substrates: 775 g/L.

Specifier: Paragraph and related subparagraphs below apply to LEED for Schools Credit IEQ 4.

        - Low-Emitting Sealants for Interior Applications:  Provide sealants and sealant primers complying with the testing and product requirements of the California Department of Health Services' "Standard Practice for the Testing of Volatile Organic Emissions from Various Sources Using Small-Scale Environmental Chambers."

        - Compatibility:  Provide joint sealants and accessory materials that are compatible with one another, and with adjacent materials, as demonstrated by sealant manufacturer using ASTM C 1087 testing and related experience.

        - Joint Sealant Standard:  Comply with ASTM C 920 and other specified requirements for each joint sealant.

        - Stain Test Characteristics:  Where sealants are required to be nonstaining, provide sealants tested per ASTM C 1248 as non-staining on porous joint substrates specified.

Specifier:  ASTM C 920 Joint Sealant Use Types, Grades, Classes, and Uses that are used in reference specifications below are as follows:

Type S:  Single component

Grade NS:  Non-sag

Class XX: Movement capability, percent

Class XX/YY:  Movement capability, percent, expansion/contraction

Exposure Use NT:  Non-traffic

Substrate Use G:  Glass

Substrate Use M:  Mortars

Substrate Use A:  Aluminum

Substrate Use O:  Other

      - SILICONE GLAZING SEALANTS

Specifier:  Tremco Spectrem 2 is a medium-modulus, one-part, high-performance, neutral-cure silicone sealant ideal for a variety of perimeter caulking and glazing applications. Its basic uses include: two-sided structural glazing; perimeter and weather seals; cap, heel and toe beads; curtain wall and window joints. Spectrem 2 may be used on aluminum, glass, steel, painted metal, plastic, stone, concrete and brick. It exhibits primerless adhesion to many common building materials. Consult Tremco representative for structural glazing applications.

        - Single-Component, Nonsag, Non-Staining, Neutral-Curing Silicone Joint Sealant [GS#__]:  ASTM C 920, Type S, Grade NS, Class 50, Use NT; SWRI validated.

          - Basis of Design Product:  Tremco, Inc., Spectrem 2.

          - Tensile Strength, ASTM D 412:  220 psi (1.5 MPa), at 100 percent elongation.

          - Tear Strength, ASTM D 624:  35 pli (6.1 kN/m).

          - Peel Strength, ASTM C 794:  30 pli (5.2 kN/m).

          - Hardness, ASTM C 661:  37 durometer Shore A, minimum.

          - Volatile Organic Compound (VOC) Content:  44 g/L maximum.

          - Volatile Organic Emissions (VOE):  Not greater than Greenguard Children & Schools Certification emissions levels.

          - Staining, ASTM C 1248:  None on concrete, marble, granite, limestone, and brick.

          - Color:  As selected by Architect from manufacturer's standard line of not less than 10 colors.

Specifier:  Tremco Proglaze SSG is a one-part, high-modulus, neutral cure silicone sealant ideal for a wide variety of glazing applications. Proglaze SSG provides high-performance capabilities as well as an exceptionally fast cure. Proglaze SSG is designed to meet the stringent performance needs for both structural and protective glazing, in unitized curtainwall fabricating or in field glazed applications, Proglaze SSG offers fast through cure and exceptional tensile strength to meet requirements. Applications include 2 or 4 sided structural glazing; impact/hurricane applications including Miami/Dade protocol; force resistance including blast tested assemblies; and rigorous cap, heel, and toe-bead application. Consult Tremco representative for structural and protective glazing applications

        - Single-Component, Nonsag, Non-Staining, Neutral-Curing Silicone Joint Sealant [GS#__]:  ASTM C920, Type S, Grade NS, Class __, Use NT; ASTM C 1184.

          - Basis of Design Product:  Tremco, Inc., Proglaze SSG.

          - Tensile Strength, ASTM D 412:  350 psi (2.4 MPa), at 100 percent elongation.

          - Tear Strength, ASTM D 624:  67 pli (11.7 kN/m).

          - Peel Strength, ASTM C 794:  60 pli (10.5 kN/m).

          - Hardness, ASTM C 661:  40 durometer Shore A, minimum.

          - Volatile Organic Compound (VOC) Content:  14 g/L maximum.

          - Volatile Organic Emissions (VOE):  Not greater than Greenguard Children & Schools Certification emissions levels.

          - Staining, ASTM C 1248:  None on concrete, marble, granite, limestone, and brick.

          - Color:  Black.

Specifier:  Proglaze® II is a multi-component, high-modulus silicone sealant consisting of a white base and a black curing agent that, when mixed through a pump, cures to a tough, flexible rubber. Basic Uses Proglaze II is developed specifically for in-plant, 2- and 4-sided structural glazing and curtain wall applications where shortened cure time reduces glazing/sealing production time. All structural glazing applications must be reviewed and approved by Tremco Technical Services.

        - Multi-Component, Nonsag, Non-Staining, Silicone Joint Sealant [GS#__]: Conforms to ASTM C920 Type M Grade NS, Class 25, Use NT, G and A.  U.S. Federal Specification TT-S-00227E Class A, and Type II.  Conforms to ASTM C1184, Use G and O (aluminum)

          - Basis of Design Product:  Tremco, Inc., Proglaze II.

          - Tensile Strength, ASTM D 412:  200-210 psi (1.37 to 1.44 MPa)

          - Tear Strength, ASTM D 624:  45-50 pli (7.88 to 8.76 kN/m).

          - Hardness, ASTM C 661:  40-45 durometer Shore A

          - Ultimate Tensile Strength, ASTM C1135:  118 psi (.81 Mpa)

          - Ultimate Elongation, ASTM C1135:  158%

          - Volatile Organic Compound (VOC) Content:  0 g/L maximum.

          - Color:  Black.

      - WEATHERPROOFING LIQUID SILICONE JOINT SEALANTS

Specifier:  Joint sealants listed in this WEATHERPROOFING LIQUID SILICONE JOINT SEALANTS article are non-traffic-bearing, non-sag 100 percent silicone joint sealants with varying chemistry intended for non-structural glazing applications such as cap seals, and for framing perimeter joint sealing applications.  These sealants are incorporated in this section as a convenience to the specifier; they are also specified in Section 079200 Joint Sealants.

Tremco Spectrem 1 is an ultra low-modulus, high-performance, one-part, moisture-curing silicone joint sealant. It has exceptional physical properties, making it an ideal sealant for sealing the most demanding dynamically moving joints. This includes material having a high coefficient of linear expansion such as aluminum curtain walls, precast concrete panels, metal panels and window perimeters. Spectrem 1 is formulated for expansion, control, lap joints, and EIFS applications. It is compatible with Tremco Exo air barrier products, silicone rubber extrusions, and Proglaze ETA Engineered Transition Assembly.

        - Single-Component, Nonsag, Non-Staining, Moisture-Curing Silicone Joint Sealant [GS#__]:  ASTM C 920, Type S, Grade NS, Class 100/50, Use NT, M, G, A, and O; SWRI validation.

          - Basis of Design Product:  Tremco, Inc., Spectrem 1.

          - Hardness, ASTM C 661:  15 durometer Shore A, minimum.

          - Volatile Organic Compound (VOC) Content:  1 g/L maximum.

          - Volatile Organic Emissions (VOE):  Not greater than Greenguard Children & Schools Certification emissions levels.

          - Staining, ASTM C 1248:  None on concrete, marble, granite, limestone, and brick.

          - Color:  [As scheduled] [As selected by Architect from manufacturers full line of not less than 12] [Match Architect's custom color].

Specifier: Tremco Spectrem 2 is a medium-modulus, one-part, high-performance, neutral-cure silicone sealant ideal for a variety of perimeter caulking and glazing applications. Its basic uses include: two-sided structural glazing; perimeter and weather seals; cap, heel and toe beads; curtain wall and window joints. Spectrem 2 may be used on aluminum, glass, steel, painted metal, plastic, stone, concrete and brick. It exhibits primerless adhesion to many common building materials.

        - Single-Component, Nonsag, Non-Staining, Neutral-Curing Silicone Joint Sealant [SJS#__]:  ASTM C 920, Type S, Grade NS, Class 50, Use NT; SWRI validated.

          - Basis of Design Product:  Tremco, Inc., Spectrem 2.

          - Volatile Organic Compound (VOC) Content:  50 g/L maximum.

          - Volatile Organic Emissions (VOE):  Not greater than Greenguard Children & Schools Certification emissions levels.

          - Staining, ASTM C1248:  None on concrete, marble, granite, limestone, and brick.

          - Color:  As selected by Architect from manufacturer's standard line of not less than 10 colors.

Specifier: Tremco Spectrem 3 is a general-purpose, low-modulus, high performance, one-part, neutral-cure, non-staining, low dirt pickup, construction-grade silicone sealant. Spectrem 3’s patented chemistry has been specifically formulated to seal porous stone, EIFS, metal panels, masonry  and pre-cast concrete joints. Its features include: low polar attraction to dirt; extremely low stain potential; low-modulus and low Shore A hardness; primerless adhesion to most porous substrates; extended tooling time and workability in high temperatures;  low-VOC, zero solvent content; and matte finish.

        - Single-Component, Nonsag, Non-Staining, Neutral-Curing Silicone Joint Sealant [SJS#__]:  ASTM C 920, Type S, Grade NS, Class 50, Use NT.

          - Basis of Design Product:  Tremco, Inc., Spectrem 3.

          - Volatile Organic Compound (VOC) Content:  20 g/L maximum.

          - Volatile Organic Emissions (VOE):  Not greater than Greenguard Children & Schools Certification emissions levels.

          - Staining, ASTM C 1248:  None on concrete, marble, granite, limestone, and brick.

          - Color:  As selected by Architect from manufacturer's standard line of not less than 15 colors.

Specifier:  Tremco Spectrem 4-TS is a multi-component, neutral-curing, nonstaining, low dirt pick up, low-modulus silicone sealant  specially formulated for use in dynamically moving building  joints with +/- 50 percent movement. Spectrem 4-TS offers excellent performance in moving joints. Spectrem 4-TS is the only silicone available offering color flexibility, with the opportunity to tint the material on site. Spectrem 4-TS does not require a primer on most construction materials and exhibits tenacious adhesion once fully cured. Typical applications for Spectrem 4-TS include: EIFS, expansion and control joints, tilt-up panel joints, precast concrete panel joints, and perimeter caulking (windows, door, panels).

        - Multi-Component, Nonsag, Non-Staining, Field-Tintable Neutral-Curing Silicone Joint Sealant [GS#__]:  ASTM C 920, Type M, Grade NS, Class 50, Use NT.

          - Basis of Design Product:  Tremco, Inc., Spectrem 4-TS.

          - Volatile Organic Compound (VOC) Content:  20 g/L maximum.

          - Volatile Organic Emissions (VOE):  Not greater than Greenguard Children & Schools Certification emissions levels.

          - Staining, ASTM C 1248:  None on concrete, marble, granite, limestone, and brick.

          - Color:  [Match Architect's custom color] [As selected by Architect from manufacturer's standard line of not less than 70 colors].

Specifier: Tremsil 600 is ideal for use as an in-plant glazing sealant for applications that include back-bedding, cap, heel and toe beads, and sash joinery. Tremsil 600 is compatible with most common porous and non-porous building components and has excellent adhesion to aluminum, stainless steel, metals, glass, plastics, rigid PVCs, wood, brick, concrete and painted surfaces. Tremsil 600 is also designed for application through automated glazing equipment (x-y tables).

        - Single-component, neutral-cure, fast-skinning, medium-modulus silicone sealant. The sealant cures to a flexible rubber when exposed to moisture present in the air. [SJS#__]:  ASTM C 920, Type S, Class 25, Use NT, G, A, and O, Grade NS.

          - Basis of Design Product:  Tremco, Inc., Tremsil 600

          - Elongation ASTM D412: 500%

          - Cyclic movement ASTM C719: ±25%

          - Shore A hardness ASTM C661: 45

          - Volatile Organic Compound (VOC) Content:  33 g/L maximum.

          - Volatile Organic Emissions (VOE):  Not greater than Greenguard Children & Schools Certification emissions levels.

          - Color:  As selected by Architect from manufacturer's standard line of not less than 5 colors.

      - JOINT SEALANT ACCESSORIES

        - Cylindrical Sealant Backing:  ASTM C 1330, Type B non-absorbent, bi-cellular material with surface skin, or Type O open-cell polyurethane, as recommended by sealant manufacturer for application.

        - Bond Breaker Tape:  Polymer tape compatible with joint sealant and adjacent materials and recommended by sealant manufacturer.

        - Joint Substrate Primers:  Substrate primer recommended by sealant manufacturer for application.

        - Cleaners:  Chemical cleaners acceptable to joint sealant manufacturer.

        - Masking tape:  Non-staining, non-absorbent tape product compatible with joint sealants and adjacent joint surfaces.

        - Framed Opening Transition Assembly:  Refer to Division 07 air barrier section.

- EXECUTION

      - EXAMINATION

        - Examine joint profiles and surfaces to determine if work is ready to receive joint sealants. Verify joint dimensions are adequate for development of sealant movement capability. Verify joint surfaces are clean, dry, and adequately cured. Proceed with joint sealant work once conditions meet sealant manufacturer's written recommendations.

          - Verify aluminum framing finish material is compatible with proposed sealant.

      - PREPARATION

        - Structural Silicone Joint Design:  Install sealant in joint design configuration recommended by manufacturer and as follows:

          - Glueline thickness:  1/4 inch (6 mm) minimum and not to exceed 1/2 inch (13 mm).

          - Structural Bite:  1/4 inch (6 mm) minimum and equal to or greater than glueline thickness.

          - Bite-to-Glueline Ratio:  3:1 or less.

          - Design and fill joint using manufacturer's recommended sealant application procedures.

        - Joint Surface Cleaning:  Clean joints prior to installing joint sealants using materials and methods recommended by sealant manufacturer. Comply with ASTM C 1193.

          - Remove curing compounds, laitance, form-release agents, dust, and other contaminants.

          - Clean nonporous and porous surfaces utilizing chemical cleaners acceptable to sealant manufacturer.

          - Protect elements surrounding the Work of this section from damage or disfiguration. Apply masking tape to adjacent surfaces when required to prevent damage to finishes from sealant installation.

      - SEALANT APPLICATION

        - Sealant and Primer Installation Standard:  Comply with ASTM C 1193 and manufacturer's written instructions.

        - Joint Backing:  Select joint backing materials recommended by sealant manufacturer as  compatible with sealant and adjacent materials. Install backing material at depth required to produce profile of joint sealant allowing optimal sealant movement.

Specifier:  Joints must be sized and detailed to allow for the recommended width/depth ratio of the sealed joint based on anticipated joint movement and construction tolerances. Design joint to minimum of 4 times anticipated movement to accommodate construction tolerances and expected movement based on coefficient of thermal expansion.

          - Install joint backing to maintain the following joint ratios:

            - Joints up to 1/2 inch (13 mm) wide:  1:1 width to depth ratio.

            - Joints greater than 1/2 inch (13 mm) wide:  2:1 width to depth ratio; maximum 1/2 inch (13 mm) joint depth.

          - Install bond breaker tape over substrates when sealant backings are not used.

        - Masking:  Mask adjacent surfaces to prevent staining or damage by contact with sealant or primer.

        - Joint Priming:  Prime joint substrates when recommended by sealant manufacturer or when indicated by preconstruction testing or experience. Apply recommended primer using sealant manufacturer's recommended application techniques.

        - Temporary Glass Support:  Use temporary fasteners, clips, two-sided adhesive, and other means to retain glass panels while sealant is applied and allowed to cure as approved by the design professional.

        - Liquid Sealant Application:  Install sealants using methods recommended by sealant manufacturer, in depths recommended for application. Apply in continuous operation from bottom to top of joint vertically and horizontally in a single direction. Apply using adequate pressure to fill and seal joint width.

          - Tool sealants immediately with appropriately shaped tool to force sealants against joint backing and joint substrates, eliminating voids and ensuring full contact.

          - Install sealant free of air pockets, foreign embedded matter, ridges, and sags.

          - Tool exposed joint surface concave using tooling agents approved by sealant manufacturer for application.

        - Allow sealant to fully cure before adhesive is stressed. Use test specimens formed at time of sealant application to verify curing time. When cured, remove temporary glass supports.

        - Cleaning:  Remove excess sealant using materials and methods approved by sealant manufacturer that will not damage joint substrate materials.

          - Remove masking tape immediately after tooling joint without disturbing seal.

          - Remove excess sealant from surfaces while still uncured.

      - FIELD QUALITY CONTROL

        - Manufacturer's Field Services:  Retain manufacturer's technical representative to observe sealant mockup installation, perform field pre-construction testing, and to issue reports of observations.

        - Field-Adhesion Testing:  Perform adhesion tests in accordance with manufacturer’s instructions and with ASTM C 1193, Method A.

          - Perform [5] tests for the first [1000 feet (300 m)] of joint length for each kind of sealant and joint substrate, and one test for each [1000 feet (300 m)] of joint length thereafter or 1 test per each floor per building elevation, minimum.

          - For sealant applied between dissimilar materials, test both sides of joint.

        - Remove sealants failing adhesion test, clean substrates, reapply sealants, and re-test. Test adjacent sealants to failed sealants.

        - Submit report of field adhesion testing to Architect indicating tests, locations, dates, results, and remedial actions taken.

Specifier: Edit sealant schedule to reflect Project requirements. Delete applications not required for Project. Identify joint sealant products by description and by identifier used in Part 2 once edited. Coordinate color requirements; certain Tremco Sealants can be custom matched for particular color requirements, while others are available in standard colors only.

      - GLAZING SEALANT SCHEDULE

Specifier:  Recommended Tremco products are Spectrem 2 and Proglaze SSG.

        - Structural glazing adhesive joints for glazing units located within [aluminum storefront] [curtain wall] [sloped glazing] systems.

          - Joint Sealant:  Single-component neutral-curing non-staining silicone sealant GS#__.

          - Joint Sealant Color:  [As selected by Architect from manufacturer's full range] [Match Architect's custom color].

Specifier: Recommended Tremco products are Spectrem 1 and Spectrem 2.

        - Exterior non-structural exposed joints within glazed [aluminum storefront] [aluminum entrance framing] [sloped glazing] [and] [curtain wall] systems.

          - Joint Sealant:  Single-component neutral-curing non-staining silicone sealant GS#__.

          - Joint Sealant Color:  [As selected by Architect from manufacturer's full range] [Match Architect's custom color].

Specifier: Recommended Tremco products are Spectrem 1 and Spectrem 2.

        - Exterior concealed joints within [aluminum storefront] [aluminum entrance framing] [sloped glazing] [and] [curtain wall] systems.

          - Joint Sealant:  Single-component neutral-curing non-staining silicone sealant GS#__.

Specifier: Recommended Tremco products are Spectrem 1, Spectrem 2, and Spectrem 4-TS.

        - Exterior exposed perimeter joints between prefinished aluminum glazing system framing and [cast-in-place concrete] [tilt-up concrete] [precast concrete panels] [concrete unit masonry] [brick masonry].

          - Joint Sealant:  Single-component neutral-curing non-staining silicone sealant GS#__.

          - Joint Sealant:  Multiple-component neutral-curing non-staining silicone sealant GS#__.

          - Joint Sealant Color:  [As selected by Architect from manufacturer's full range] [Match Architect's custom color].

Specifier: Recommended Tremco products are Spectrem 1, Spectrem 3, and Spectrem 4-TS

        - Exterior exposed perimeter joints between prefinished aluminum glazing system framing and exterior insulation finish systems (EIFS).

          - Joint Sealant:  Single-component neutral-curing non-staining silicone sealant GS#__.

          - Joint Sealant Color:  [As selected by Architect from manufacturer's full range] [Match Architect's custom color].

Specifier: Recommended Tremco products are Spectrem 1 and Spectrem 4-TS.

        - Exterior exposed perimeter joints between prefinished aluminum glazing system framing and exterior insulation finish systems (EIFS).

          - Joint Sealant:  Single-component neutral-curing non-staining silicone sealant GS#__.

          - Joint Sealant Color:  [As selected by Architect from manufacturer's full range] [Match Architect's custom color].

Specifier: Recommended Tremco products are Spectrem 1 and Spectrem 2.

        - Exterior exposed perimeter joints between prefinished aluminum glazing system framing and metal panel cladding systems.

          - Joint Sealant:  Single-component neutral-curing non-staining silicone sealant GS#__.

          - Joint Sealant Color:  [As selected by Architect from manufacturer's full range] [Match Architect's custom color].

        - Other joint sealants: Refer to Section 07 92 00 "Joint Sealants."

END OF SECTION