GUIDE SPECIFICATION FOR HYDRALASTIC™ 836 SL:  COLD-APPLIED, MOISTURE-CURED WATERPROOFING MEMBRANE

SECTION 07 14 16

COLD-FLUID APPLIED WATERPROOFING

June 11, 2020

Specifier Notes: This guide specification is written according to the Construction Specifications Institute (CSI) MasterFormat. The section must be carefully reviewed and edited by the architect or engineer to meet the requirements of the project. Coordinate this section with other specification sections and the drawings.

### Specifier Notes: HYDRALASTIC 836 SL is a single-component, cold-applied, solvent-free, water-activated waterproofing system. The product is designed for horizontal surfaces but can also be used in vertical applications. It does not shrink, has a low volatile organic compound (VOC) content, and complies with all current federal, state, and local maximum VOC requirements. It will not crack in extreme cold or flow due to softening at high temperatures. HYDRALASTIC 836 SL is suitable for use on interior or exterior concrete surfaces, where protection from water intrusion is desired. The product can be used for both above-grade and below-grade applications. HYDRALASTIC 836 SL is excellent for horizontal and vertical applications, such as waterproofing plaza decks and elevated composite decks and also in between-slab (split-slab) applications.

PART 1 GENERAL

1.01	SECTION INCLUDES

A.	Surface preparation.

B.	Application of single-component, water-activated, liquid waterproofing membrane.

1.02	RELATED SECTIONS

Specifier Notes: Edit the list of related sections as required for the project. List other sections dealing with work directly related to this section.

A.	Section 03 30 00 – Cast-in-Place Concrete.

B.	Section 04 20 00 – Unit Masonry.

C.	Section 07 13 26 – Self-Adhering Sheet Waterproofing.

D.	Section 07 21 00 – Thermal Insulation.

E.	Section 07 60 00 – Flashing and Sheet Metal.

F.  	Section 07 92 00 – Joint Sealants.

G.	Section 33 46 13 - Foundation Drainage.

1.03	REFERENCES

- ASTM C836 - Standard Specification for High Solids Content, Cold Liquid-Applied Elastomeric Waterproofing Membrane for Use with Separate Wearing Course.

- ASTM D412 - Standard Test Methods for Vulcanized Rubber and Thermoplastic Elastomers – Tension.

C.	ASTM D2240 - Standard Test Method for Rubber Property—Durometer Hardness.

D.	ASTM D2369 - Standard Test Method for Volatile Content of Coatings.

E.	ASTM E96 - Standard Test Methods for Water Vapor Transmission of Materials.

1.04	SUBMITTALS

A.	Comply with Section 01 33 00 - Submittal Procedures.

B.	Submit manufacturer's product data and application instructions.

  - QUALITY ASSURANCE

- Installer Qualifications:

  - Use an experienced installer and adequate number of skilled personnel who are thoroughly trained and experienced in the application of fluid applied waterproofing membranes.

B.	Obtain waterproofing materials from a single manufacturer regularly engaged in manufacturing the product.

C.	Provide products which comply with all state and local regulations controlling use of volatile organic compounds (VOCs).

1.06	PRECONSTRUCTION MEETING

A.	Preconstruction Meeting:  Convene [one] [______] week prior to commencing work of this section, in accordance with Section [XX XX XX] - Project Meetings.

1.07	MOCK-UPS

A.	Prior to installation of waterproofing membrane, apply waterproofing membrane to 100 ft.2 (9.3 m2) of deck or wall to demonstrate surface preparation, crack and joint treatment, corner treatment, thickness, and to demonstrate tie-ins with adjoining construction, and other termination conditions, as well as qualities of materials and execution.

B.	Cooperate and coordinate with the owner's inspection and testing agency.  Do not cover any installed waterproofing membrane unless it has been inspected, tested and approved.

1.08	DELIVERY, STORAGE, AND HANDLING

A.	Deliver materials to site in manufacturer's original, unopened containers and packaging, with 	labels clearly identifying product name and manufacturer.

B.	Store materials in a clean, dry area in accordance with manufacturer's instructions.

C.	Store at temperatures between 40° - 70° F (4° - 21° C).

D.	Protect materials during handling and application to prevent damage or contamination.

1.09	ENVIRONMENTAL REQUIREMENTS

A.	Product not intended for uses subject to abuse or permanent exposure to the elements.

B. 	Do not apply membrane when air, material, or surface temperatures are expected to fall 			below 30o F (-1o C) within four hours of completed application.

C. 	Do not apply membrane if rainfall is forecast or imminent within 12 hours.

D.	Do not apply waterproofing membrane to any surfaces containing frost.

E. 	Consult manufacturer for applications to green concrete.

PART 2	 PRODUCTS

2.01	MANUFACTURER

A.	W. R. MEADOWS®, INC., PO Box 338, Hampshire, Illinois 60140-0338. (800) 342-5976. (847) 683-4500. Fax (847) 683-4544. Website: www.wrmeadows.com.

2.02	MATERIALS

A.	Waterproofing Membrane: water activated, cold-applied, solvent-free, non-shrink, liquid 			waterproofing membrane.

1.	Performance Based Spec:  Waterproofing membrane shall have the following 				properties as determined by laboratory testing:

a.	Solids content by weight, ASTM C2369:  96%.

b.	Tensile Strength, ASTM D412:  350 psi.

c.	Elongation at break, ASTM D412:  500%.

d.	Water Vapor Transmission, ASTM E96 (Method BW):  0.1 perm in.

e.	Shore 00 Hardness, ASTM D2240:  >76.

f.	VOC, ASTM D2369:  47 g/L

2.  Proprietary Based Spec:

a.  HYDRALASTIC 836 SL Waterproofing Membrane by W. R. MEADOWS.

2.03	ACCESSORIES

A.	Joint tape:  6” (150 mm) wide reinforcing fabric for corners, crack, and joint treatment.

1.		REINFORCING FABRIC HCR by W. R. MEADOWS.

B.	Reinforcement material for High Build Applications:  Spun bonded polyester reinforcing fabric.

1.		REINFORCING FABRIC HCR by W. R. MEADOWS.

C.	Epoxy primer for use with porous substrates.

1.		REZI-WELD™ LV or REZI-WELD LV STATE by W. R. MEADOWS.

D.	Detailing membrane for coves and penetrations.

1.	BEM by W. R. MEADOWS.

E.	Cementitious concrete repair materials for surface preparation repairs.

1.	MEADOW-PATCH® 5 and MEADOW-PATCH 20 concrete repair mortars by W. R. MEADOWS.

F.	Waterproofing Protection Course:  polyolefin membrane for protection of waterproofing membrane.

1.	PERMINATOR® 15 Mil by W. R. MEADOWS.

G.	Rolled Matrix Drainage System: dimple raised molded polystyrene sheet with polypropylene fabric and polymeric backing film.

1.	MEL-DRAIN™ 9055-B or MEL-DRAIN 9072-B by W. R. MEADOWS.

PART 3 EXECUTION

3.01	EXAMINATION

A.	Examine surfaces to receive membrane. Notify architect if surfaces are not acceptable. Do 		not begin surface preparation or application until unacceptable conditions have been 			corrected.

3.02	SURFACE PREPARATION

A.	Protect adjacent surfaces not designated to receive waterproofing.

B. 	Clean and prepare surfaces to receive waterproofing in accordance with manufacturer's 			instructions.

1.	New Concrete

a.	Cure the concrete using the wet cure method.  If a curing compound is used, mechanically remove from the concrete surface.

b.	Lightly trowel or screed concrete to provide a flat, uniform surface.

c.	Finish surface providing a light broom profile.

C.	Power wash or use oil-free compressed air to remove any contaminants that may interfere with the bond of the membrane.

D.	Mechanically abrade the concrete surface by grinding, abrasive blasting, or shot blasting according to manufacturer’s instructions to provide an acceptable surface profile.

E.	Shot blast the surface to complete the surface preparation.

F. 	Patch all holes and voids and smooth out any surface misalignments.

G.	Do not apply waterproofing to surfaces unacceptable to manufacturer.

3.03	PRIMING

Specifier Notes:  For porous substrates where air and/or moisture release may cause pinhole or blister problems to occur in the applied membrane, priming the substrate prior to application of HYDRALASTIC 836 SL is recommended. Contact a W. R. MEADOWS representative for priming recommendations. Priming is recommended to remove trapped air/vapor from the substrate and promote a better bond with the substrate.   REZI-WELD LV or REZI-WELD LV STATE can be used as the epoxy primer and, depending on air and surface temperatures, requires about 2 - 4 hours to become tack-free.  If a primer is not necessary, then delete this section.  The mock-up will determine whether a primer is necessary for the installation.

A.	Condition all components to 60º – 85º F (16º – 29º C) for 24 hours prior to use. Premix each component.

B.	Mechanically mix at slow speed (600 – 900 rpm) to completely mix the epoxy primer.

C.	Apply the low viscosity epoxy with a nap roller or squeegee at a coverage rate of 100 ft.2 (9.3 m2) per gallon (2.45 m2/L) providing a uniform coverage over the substrate.

D.	Allow the epoxy primer to become tack-free prior to the application of the fluid applied waterproofing membrane.

3.04	MIXING

A.	Condition material at 75° F (23.9° C) for at least 12 hours prior to use.

- Add up to one quart (0.95 L) of water to five gallons (18.9 L) of waterproofing membrane.

C.	Mix thoroughly for three minutes using a mechanical mixer at slow speed to

ensure a homogeneous material.

3.05	APPLICATION

Specifier Notes: HYDRALASTIC 836 SL does not shrink and is designed for horizontal surfaces. Typical installation for horizontal applications are 90 mil or 120 mil high build system with REINFORCING FABRIC HCR throughout. Please contact your local W. R. MEADOWS representative to discuss specific project requirements. If HYDRALASTIC 836 SL is to be used on a vertical surface, a minimum application thickness of 60 mil is required. Due to the viscosity of the product, it needs to be applied in 15 mil lifts to be able to build up to that thickness. For vertical applications, W. R. MEADOWS recommends the use of MEL-ROL® LM or HYDRALASTIC 836.

A.	Apply waterproofing membrane system in accordance with manufacturer's instructions.

B.	Treatment of Existing Cracks and All Non-Structural Joints

1.	Identify and install detailing membrane in all cracks and all non-structural joints.

2.	Apply a 30 wet mil coat of the fluid applied membrane ensuring that there is a minimum of 3” (75 mm) of membrane extending onto the surface in all directions.

3.	Embed the non-woven reinforcing fabric over the entire area of this membrane and work in using trowel.

4.	Completely cover the reinforcing fabric with a second coat of the fluid applied membrane at 30 wet mils while the first coat is still wet, again extending 3” (75 mm) onto the wall in all directions.

C.	Treatment of Inside & Outside Corners

1.	Install detailing membrane to create a minimum ¾” (25.4 mm) fillet in all inside corners.

2.	Apply a 30 wet mil coat of the fluid applied membrane ensuring that there is a minimum of 3” (75 mm) of membrane extending onto the wall in all directions.

3.	Embed the non-woven reinforcing fabric over the entire area of this membrane and work in using trowel.

4.	Completely cover the reinforcing fabric with a second coat of fluid applied membrane at 30 wet mils while the first coat is still wet, again extending 3” (75 mm) onto the wall in all directions.

D.	Apply membrane by trowel, flat-blade squeegee, or roller, at a minimum coverage rate of 26 ft.2/U.S. gal (0.64 m2/L), providing a thickness of 60 wet mils.

E.	If a two-coat application is required, fully embed the reinforcing fabric into this first coat.

Specifier Notes:  If a second coat of the HYDRALASTIC 836 SL is necessary, apply as soon as first coat has set sufficiently to support subsequent coat at 75° F (23.9°C) and 50% relative humidity.  The coating needs to be allowed to cure for a minimum of 2 - 4 hours before to achieve this prior to proceeding to the subsequent coat.  The timeframe between coats needs to be no more than eight hours apart at 75o F (23.9o C) and 50% humidity.

F.	Apply second coat as soon as first coat has set sufficiently to support the second coat at a coverage rate of 26 ft.2/U.S. gal (0.64 m2/L).

G.	Frequently inspect surface area to ensure proper adhesion and consistent thickness is achieved.

H.	Provide minimum cured membrane thickness of [90 mils], [120 mils] dry.

3.06	PROTECTION

- Protect membrane with application of non-asphaltic waterproofing protection course, drainage board, or other approved material.

B.	Apply protection as soon as membrane can be walked on without damage.

END OF SECTION